## INSTRUCTIONS
ELECTRONIC BID PROPOSAL INSTRUCTIONS - EXCEL SPREADSHEET
TMUA PROJECT NO. ES 2022-05
NORTHSIDE AERATION JOCKEY BLOWER ADDITION
Please read the following instructions carefully.
1. After opening this file re-save it as your company's name.
2. Open the BID FORM Sheet from the tabs below.
3. Input the unit price of the appropriate pay item in the cells highlighted in blue.
4. Review all data input and check calculations to ensure accuracy of Bid.
5. Print 1hardcopy of the "PROPOSAL" tab, BID FORM and the "SIGNATURE PAGE" tab.
6. Complete and sign the "Signature Page" document.
6. Submit hardcopy and electronic disk with Contract Documents and Specifications for Bid opening date.
LEGEND
1 | Cells Requiring Data Input.
1 | Internal Data Transfer.
2 | Calculated Results.
AGREEMENT FOR USING ELECTRONIC BID PROPOSAL
By and Between: Tetra Tech, Inc. , (ENGINEER) and RECIPIENT. The enclosed electronic media is provided pursuant to your request and is for your limited use in connection with your submittal of Bid Proposal for Project No. ES 2022-05, Northside Aeration Jockey Blower Addition. In no event shall the information be used for any other purpose or be released to third parties without the written consent of the ENGINEER. In the event of a discrepancy between the hard copy and this electronic media at delivery or in the future, the hard copy shall govern. ENGINEER hereby disclaims any and all liability for the consequences from use of the electronic media and makes no warranty or guarantee of accuracy. RECIPIENT shall assume full responsibility for the uses and consequences of the electronic media. It is agreed that ENGINEER has and retains ownership of the electronic media. ENGINEER does not warrant or guarantee that the electronic data is compatible with RECIPIENT'S computer hardware or software, and ENGINEER'S responsibility for the electronic media is limited to replacement of defective media for a period of thirty (30) days after delivery to RECIPIENT. !!! By opening and using this FILE, You AGREE to these TERMS AND CONDITIONS!!!

## PROPOSAL
PROPOSAL
TMUA PROJECT NO. ES 2022-05
NORTHSIDE AERATION JOCKEY BLOWER ADDITION
TO: TULSA METROPOLITAN UTILITY AUTHORITY
CITY OF TULSA, OKLAHOMA
THE UNDERSIGNED BIDDER, having carefully examined the drawings, specifications, and other
Contract Documents of the above project presently on file in the City Clerk, City of Tulsa Oklahoma:
CERTIFIES THAT he has inspected the site of the proposed work and has full knowledge of the extent
and character of the work involved, construction difficulties that may be encountered, and materials
necessary for construction, class and type of excavation, and all other factors affecting or which may be
affected by the specified work; and
CERTIFIES THAT he has not entered into collusion with any other bidder or prospective bidder relative
to the project and/or bid: and
HEREBY PROPOSES: to enter into a contract to provide all necessary labor, materials, equipment and
tools to completely construct and finish all the work required by the Contract Documents referred to
therein; to complete said work within 350 calendar days after the work order is issued; and to accept in
full payment therefore the amount set forth below for all work actually performed as computed by the
Engineers as set forth in the Contract.
Basis of Award
IT SHOULD BE NOTED THAT THE LOWEST RESPONSIBLE BID SHALL BE DETERMINED BY THE TOTAL
BASE BID.
Note: | - Item numbers omitted are not a part of the Contract.

## BID FORM
PROPOSAL FOR TMUA PROJECT NUMBER ES 2022-05 NORTHSIDE AERATION JOCKEY BLOWER ADDITION
BASE BID
ITEM NUMBER | SPEC NUMBER | ITEM DESCRIPTION | UNIT | QUANTITY | DATA INPUT UNIT PRICE | AMOUNT
1 | 024119 | Demolition (Pipe, supports, electrical, and blower removal), Complete | EA | 1 |  | 0
2 | 031000, 032000, 033000 | Concrete Pad, Complete | EA | 1 |  | 0
3 | 055000 | Steel Supports, Complete | EA | 1 |  | 0
4 | 431111 | NX700D-C080 High Speed Turbo Blower and Accessories, Complete | EA | 1 |  | 0
5 | 402700, 402701, 408001 | 24" Stainless Steel Pipe | LF | 4 |  | 0
6 | 402700, 402701 | 24" Stainless Steel 90° Bend | EA | 2 |  | 0
7 | 402700.08 | 30"x24" Reducer | EA | 1 |  | 0
8 | 400523 | 14" Butterfly Valve with Chainwheel | EA | 2 |  | 0
9 | 402700, 402701, 408001 | 14" Long Radius Elbow | EA | 4 |  | 0
10 | 402700, 402701, 408001 | 14" Stainless Steel Pipe | LF | 4 |  | 0
11 | 402700.08 | 20"x20"x14" Tee | EA | 2 |  | 0
12 | 402701 | 20" Blind Flange | EA | 1 |  | 0
13 | 262816 | Switchgear Starter Rebuild | EA | 1 |  | 0
14 | 260533.13 | 4" Rigid Metal Conduit | LF | 50 |  | 0
15 | 260533.13 | 1" Rigid Metal Conduit | LF | 50 |  | 0
16 | 260519 | 5 Kv Rated Wire - #1 90 degree C | CLF | 3 |  | 0
17 | 260519 | Twisted Shielded Pair Wire - 2/C#18SH | CLF | 3 |  | 0
18 | 271523 | Fiber | CLF | 1 |  | 0
19 | 400500 | SCADA Programming, Complete | EA | 1 |  | 0
20 | COT 303 | Mobilization | EA | 1 |  | 0
21 | SP-1 | Owner's Allowance | ALLOW | 20000 | 1 | 20000
|  | TOTAL BASE BID |  |  |  | 20000

## SIGNATURE PAGE
BASE BID | [6 empty] | 20000
Figures
Enclosed is a ( ) Bidder's Surety Bond, ( ) Certified Check, ( ) Cashier's Check for
_________________________________________ |  | %
which the City of Tulsa may retain or recover as liquidated damages in the event that the undersigned fails to enter into
contract for the work covered by this proposal., provided the Contract is awarded to the undersigned within thirty (30)
days, or within ninety (90) days if Federal funds are utilized, from the date fixed for opening of bids and the undersigned
fails to execute said Contract and furnish the required bonds and other requirements as called for in these Contract
Documents within thirty (30) days after award of Contract.
Dated at Tulsa, Oklahoma, this ________ day of __________________________, 20__.
Respectfully submitted,
______________________________________________________________________
(Complete legal name of company)
(State of Organization)
By: |  |  |  |  | ATTEST:
_____________________________________ |  |  |  |  | ____________________________________
Title: |  |  |  |  | Title: Corporate Secretary
Printed Name: |  |  |  | Title: Corporate Secretary | Printed Name:
(SEAL)
Address:________________________________
_______________________________________
_______________________________________
_______________________________________
_______________________________________
Telephone Number: _______________________ |  |  |  |  | Fax Number: _______________________________
The undersigned acknowledge receipt of the following Addenda (give number and date of each):
______________________________________________________________________
______________________________________________________________________
______________________________________________________________________
______________________________________________________________________