## INSTRUCTIONS
ELECTRONIC BID PROPOSAL INSTRUCTIONS - EXCEL SPREADSHEET
TULSA ZOO - RAINFOREST HVAC/ELECTRICAL UPGRADES
PROJECT NO. CP 24-20
Please read the following instructions carefully.
1. After opening this file re-save it as your company's name.
2. Open the BID FORM Sheet from the tabs below.
3. Input the unit price of the appropriate pay item in the Data Input cells.
4. Review all data input and check calculations to ensure accuracy of Bid.
5. Print 1 hardcopy of the "PROPOSAL" tab, BID FORM and the "SIGNATURE PAGE" tab.
6. Complete and sign the "Signature Page" document.
7. Submit hardcopy and electronic disk with Contract Documents and Specifications for Bid opening date.
AGREEMENT FOR USING ELECTRONIC BID PROPOSAL
By and Between: EDA + FKI ENGINEERS PC (ENGINEER) and RECIPIENT. The enclosed electronic media is provided pursuant to your request and is for your limited use in connection with your submittal of Bid Proposal for Project No. CP 24-20. In no event shall the information be used for any other purpose or be released to third parties without the written consent of the ENGINEER. In the event of a discrepancy between the hard copy and this electronic media at delivery or in the future, the hard copy shall govern. ENGINEER hereby disclaims any and all liability for the consequences from use of the electronic media and makes no warranty or guarantee of accuracy. RECIPIENT shall assume full responsibility for the uses and consequences of the electronic media. It is agreed that ENGINEER has and retains ownership of the electronic media. ENGINEER does not warrant or guarantee that the electronic data is compatible with RECIPIENT'S computer hardware or software, and ENGINEER'S responsibility for the electronic media is limited to replacement of defective media for a period of thirty (30) days after delivery to RECIPIENT. By opening and using this FILE, You AGREE to these TERMS AND CONDITIONS.

## PROPOSAL
PROPOSAL
TULSA ZOO - RAINFOREST HVAC/ELECTRICAL UPGRADES
PROJECT NO. CP 24-20
TO: HONORABLE MAYOR
CITY OF TULSA, OKLAHOMA
THE UNDERSIGNED BIDDER, having carefully examined the drawings, specifications, and other Contract Documents of the above project presently on file in the City Clerk, City of Tulsa Oklahoma:
CERTIFIES THAT he has inspected the site of the proposed work and has full knowledge of the extent and character of the work involved, construction difficulties that may be encountered, and materials necessary for construction, class and type of excavation, and all other factors affecting or which may be affected by the specified work; and
CERTIFIES THAT he has not entered into collusion with any other bidder or prospective bidder relative to the project and/or bid: and
HEREBY PROPOSES: to enter into a contract to provide all necessary labor, materials, equipment and tools to completely construct and finish all the work required by the Contract Documents hereto attached and other documents referred to therein: to complete said work within 270 calendar days after the work order is issued; and to accept in full payment therefore the amount set forth below for all work actually performed as computed by the Engineer as set forth in the Contract.
Basis of Award
IT SHOULD BE NOTED THAT THE LOWEST RESPONSIBLE BID SHALL BE DETERMINED BY THE TOTAL BASE BID PLUS ADDITIVE ALTERNATES NO. 1 thru 3 . THE ITEMS IN ADDITIVE ALTERNATES NO. 1 thru 3 MAY OR MAY NOT BE INCLUDED IN THE CONTRACT AWARD AT THE SOLE DISCRETION OF THE CITY OF TULSA. ANY PROPOSAL SUBMITTED WITH THE ADDITIVE ALTERNATES 1 thru 3 INCOMPLETE SHALL BE CONSIDERED NON-RESPONSIVE.

## BID FORM
BID FORM
TULSA ZOO - RAINFOREST HVAC/ELECTRICAL UPGRADES
PROJECT NO: CP 24-20
BID ITEM | SPEC NO. | DESCRIPTION | UNIT | QTY | DATA INPUT UNIT PRICE | TOTAL EACH ITEM
BASE BID:
001 | SPEC 01 2100 | General conditions. | LOT | 1 |  | 0
002 | SPEC 01 2100 | Owner Allowance | ALLOW | 170000 | 1 | 170000
003 |  | Site prep, tree removal, and prepare, level grade for equipment and equipment pad installation | LOT | 1 |  | 0
004 | SPEC 02 4119 | Demolition and removal of existing Governair HVAC Package Housing Unit and (2) Cooling Towers from the site. | LOT | 1 |  | 0
005 | SPEC 02 4119 | Removal of existing roof mounted exhaust fans (EF-1, EF-2,EF-3) Install new corrugated metal panel under exhaust fan EF-2. Provide a water tight seal around roof penetrations. | EA | 3 |  | 0
006 | SPEC 02 4119 | Removal of existing inline exhaust fan (EF-4) and support structure. | EA | 1 |  | 0
007 | SPEC 02 4119 | Removal of existing return ductwork from ground level up to return grille plenum transition. Install sheet metal to cap and seal underground branch duct connection. Removal of existing supply ductwork and fittings at Rm. 124. Demolition of existing supply ductwork (west exterior). Install cap and seal at specified return and supply ductwork, roof openings, and piping. | EA | 3 |  | 0
008 | SPEC 02 4119 | Removal of existing HVAC equipment thermostats and associated wiring | EA | 1 |  | 0
009 | SPEC 02 4119 | Demolition of existing service shed, electrical fixture and wiring. | EA | 1 |  | 0
010 | SPEC 23 1123 | Reconnection of gas services to existing 175kw generator and cafe. | EA | 2 |  | 0
011 | SPEC 23 1123 | New gas service manifold and distribution provisions for services to generators, HVAC package units, new connection to existing 175kw generator, service to cafe. | EA | 1 |  | 0
012 | SPEC 02 4119 | Removal of existing 2" above grade natural gas piping back to gas riser manifold and capping existing service | EA | 1 |  | 0
013 | SPEC 23 0713, 23 3113,23 0529, 23 3300 | Install interior supply duct. Provide R8 interior duct insulation on interior ductwork. Provide long rectangular radius elbows | LB | 860 |  | 0
014 | SPEC 23 0713, 23 3113 | Install 3" Armaflex insulation and aluminum jacketing for all exterior supply & return ducts. | SF | 7000 |  | 0
015 | SPEC 23 0713, 23 3113, 23 3300 | Install exterior supply & return duct, including all long rectangular radius elbows. | LB | 8300 |  | 0
016 | SPEC 23 1123 | Natural Gas service upgrade including (ONG) ONEOK fees, boring, piping, unions, shut off valves, regulators, sediment traps and field connections. | EA | 1 |  | 0
017 | SPEC 23 1123 | Natural gas piping to generators including unions, shut off valves, regulators, sediment traps and all terminations. | EA | 3 |  | 0
018 | SPEC 23 1123 | Gas piping to package units, includes trench, backfill, piping, unions, shut off valves, regulators, sediment traps and terminations. | EA | 10 |  | 0
019 | SPEC 23 3113, 23 7413 | Set package unit on pad & make required connections for natural gas, ductwork and controls. | EA | 10 |  | 0
020 |  | Condensate piping system for HVAC package units. | EA | 10 |  | 0
021 |  | Install new structurally reinforced concrete pad for HVAC Package Units. | CY | 20 |  | 0
022 | SPEC 23 0500, 23 0593, 23 0713 | Connection of RTU 3 supply duct to existing duct @ supply air tunnel. | EA | 1 |  | 0
023 |  | Connection of RTU-5, RTU 5.1 and RTU-2 return air connection to existing central return. | EA | 1 |  | 0
024 | SPEC 23 0500, 23 0593, 23 3113, 23 3423, 23 0529 | Install new exhaust fan on low roof (EF-1, EF-2). Install new Inline exhaust fan (EF-2) and support structure. Provide associated controls for both fans. | EA | 2 |  | 0
025 | SPEC 23 0529 | Rectangular duct supports for exterior ductwork. | EA | 60 |  | 0
026 | SPEC 23 3713.13 | Provide Insect Screening over return grille (R2) free area. Return grille serves RTU-1 & RTU-1.1. | EA | 1 |  | 0
027 | SPEC 23 3300 | Protective Shield at RTU-1.1 primate accessible ductwork locations. | EA | 2 |  | 0
028 | SPEC 23 3300 | Back draft gravity dampers &motorized modulating Dampers & wiring. | LOT | 1 |  | 0
029 | SPEC 01 2100 | HVAC control system allowance, including LV wiring (exclude raceway)to each package unit, sensors, thermostats, interface modules and all associated hardware. | EA | 10 |  | 0
030 | SPEC 02 4119 | Disconnect, remove and relocate existing generator set per owner direction, demo existing pad and patch existing pad location | EA | 1 |  | 0
031 | SPEC 02 4119 | Disconnect and remove existing secondary conductors from existing PSO transformer, demo existing pad and patch existing pad location | EA | 1 |  | 0
032 | SPEC 02 4119 | Demo. existing transfer switches and associated connections | EA | 2 |  | 0
033 | SPEC 02 4119 | Demolition existing electrical service disconnects | EA | 4 |  | 0
034 |  | Install new site lights with pole base and wiring | EA | 3 |  | 0
035 | SPEC 26 3213 | Generators (3-350KW natural gas units) installed on pad | EA | 3 |  | 0
036 | SPEC 26 2413 | Service switchgear MSB | EA | 1 |  | 0
037 | SPEC 26 3623 | Transfer switch, 800A, 480V, 3P, 4 W, free standing NEMA 3R | EA | 2 |  | 0
038 | SPEC 26 3623 | Transfer switch, 100A, 480V, 3P, 4 W, free standing NEMA 3R | EA | 1 |  | 0
039 | SPEC 26 2413 | Distribution panel "AMDP" | EA | 1 |  | 0
040 | SPEC 26 2413 | Distribution panel "BMDP" | EA | 1 |  | 0
041 | SPEC 26 2413 | Generator switchboard GDP | EA | 1 |  | 0
042 |  | Reinforced concrete generator pad | CY | 50 |  | 0
043 |  | Reinforced concrete switchgear pad | CY | 6 |  | 0
044 |  | Reinforced concrete transformer pad | CY | 4 |  | 0
045 | SPEC 26 3213 | Remote wireless generator monitor | EA | 1 |  | 0
046 | SPEC 26 3213 | Remote emergency stops @ generator | EA | 3 |  | 0
047 | SPEC 26 2416 | Electrical panelboard L1C, installed | EA | 1 |  | 0
048 | SPEC 26 2416 | Electrical Panelboard LS, installed | EA | 1 |  | 0
049 | SPEC 26 2200 | Dry type 112.5kva transformer installed | EA | 1 |  | 0
050 | SPEC 26 4313 | Surge Protective Device LS3 series and associated wiring, | EA | 2 |  | 0
051 | SPEC 26 4313 | Surge Protective Device TG series and associated wiring, | EA | 3 |  | 0
052 | SPEC 26 0519, 26 0533, 26 0526 | Feeder & termination for pad mounted 1000kva PSO furnished transformer to MSB, 1600A-4 | LF | 30 |  | 0
053 | SPEC 26 0519, 26 0533, 26 0526 | Feeder & termination for HVAC package unit RTU-1, 80A-3+G | LF | 50 |  | 0
054 | SPEC 26 0519, 26 0533, 26 0526 | Feeder & Termination for HVAC package unit RTU-1.1, 80A-3+G | LF | 80 |  | 0
055 | SPEC 26 0519, 26 0533, 26 0526 | Feeder & termination for HVAC package unit RTU-2, 80A-3+G | LF | 160 |  | 0
056 | SPEC 26 0519, 26 0533, 26 0526 | Feeder & termination for HVAC package unit RTU-2.1, 80A-3+G | LF | 120 |  | 0
057 | SPEC 26 0519, 26 0533, 26 0526 | Feeder & termination for HVAC package unit RTU-3, 110A-3+G | LF | 80 |  | 0
058 | SPEC 26 0519, 26 0533, 26 0526 | Feeder & termination for HVAC package unit RTU-4, 100A-3+G | LF | 100 |  | 0
059 | SPEC 26 0519, 26 0533, 26 0526 | Feeder & termination for HVAC package unit RTU-5, 110A-3+G | LF | 250 |  | 0
060 | SPEC 26 0519, 26 0533, 26 0526 | Feeder & termination for HVAC package unit RTU-5.1, 110A-3+G | LF | 200 |  | 0
061 | SPEC 26 0519, 26 0533, 26 0526 | Feeder & termination for HVAC package unit RTU-6, 70A-3+G | LF | 150 |  | 0
062 | SPEC 26 0519, 26 0533, 26 0526 | Feeder & termination for HVAC package unit RTU-7, 30A-3+G | LF | 225 |  | 0
063 | SPEC 26 0533 | 3/4" PVC schedule 40 underground control conduit to RTU-1, RTU-1.1, RTU-2, RTU-2.1, RTU-3, RTU-4, RTU-5, RTU-5.1, RTU-6 and RTU-7. | LF | 1500 |  | 0
064 | SPEC 26 0519, 26 0533, 26 0526 | Feeder from BMDP to Anteater building 200-4+G | LF | 180 |  | 0
065 | SPEC 26 0519, 26 0533, 26 0526 | Feeder from ATS3 to panel LS 100-4+G | LF | 40 |  | 0
066 | SPEC 26 0519, 26 0533, 26 0526 | Feeder from BMDP to 112.5 kva transformer 175A-3+G | LF | 200 |  | 0
067 | SPEC 26 0519, 26 0533, 26 0526 | Feeder from 112.5KVA transformer to panel L1C 400A-4+G | LF | 200 |  | 0
068 | SPEC 26 0519, 26 0533, 26 0526 | Feeder from BMDP to H1A 200A-4+G | LF | 40 |  | 0
069 | SPEC 26 0519, 26 0533, 26 0526 | Feeder from BMDP to H1B 200A-4+G | LF | 40 |  | 0
070 | SPEC 26 0519, 26 0533, 26 0526 | Feeder from BMDP to ATS1, 800A-4+G | LF | 20 |  | 0
071 | SPEC 26 0519, 26 0533, 26 0526 | Feeder from AMDP to ATS2, 800A-4+G | LF | 20 |  | 0
072 | SPEC 26 0519, 26 0533, 26 0526 | Feeder from GDP to ATS1, 800A-4+G | LF | 20 |  | 0
073 | SPEC 26 0519, 26 0533, 26 0526 | Feeder from GDP to ATS2, 800A-4+G | LF | 30 |  | 0
074 | SPEC 26 0519, 26 0533, 26 0526 | Feeder from GDP to ATS3, 100A-4+G | LF | 40 |  | 0
075 | SPEC 26 0519, 26 0533, 26 0526 | Feeder from MSB to ATS1, 800A-4+G | LF | 15 |  | 0
076 | SPEC 26 0519, 26 0533, 26 0526 | Feeder from MSB to ATS2, 800A-4+G | LF | 25 |  | 0
077 | SPEC 26 0519, 26 0533, 26 0526 | Feeder from MSB to ATS3, 100A-4+G | LF | 25 |  | 0
078 | SPEC 26 0519, 26 0533, 26 0526 | Feeder from ATS1 to BMDP, 800A-4+G | LF | 200 |  | 0
079 | SPEC 26 0519, 26 0533, 26 0526 | Feeder from ATS2 to AMDP, 800A-4+G | LF | 50 |  | 0
080 | SPEC 26 0519, 26 0533, 26 0526 | Feeder from ATS3 to Panel LS, 100A-4+G | LF | 80 |  | 0
081 | SPEC 26 0519, 26 0533, 26 0526 | Feeder from Generator 1 to GDP, 800A-4+G | LF | 60 |  | 0
082 | SPEC 26 0519, 26 0533, 26 0526 | Feeder from Generator 2 to GDP, 800A-4+G | LF | 50 |  | 0
083 | SPEC 26 0519, 26 0533, 26 0526 | Feeder from Generator 3 to GDP, 800A-4+G | LF | 40 |  | 0
084 |  | EIFS Repair as needed | SF | 10 |  | 0
085 |  | Exterior KALWALL penetration and repair | SF | 8 |  | 0
086 | SPEC 26 0526 | Electrical grounding system | LOT | 1 |  | 0
087 |  | 3500 PSI concrete mix to close off existing supply and return openings to the underground HVAC tunnell. | CY | 10 |  | 0
SUBTOTAL - BASE BID ITEMS (ITEMS 001 THROUGH 087) | [5 empty] | 170000
ADD ALTERNATE #1 - Electrical Primary Metering
BID ITEM | SPEC NO. | DESCRIPTION | UNIT | QTY | DATA INPUT UNIT PRICE | TOTAL EACH ITEM
088 | SPEC 26 1329 | 15kv pad mounted primary switch installed as per plans | EA | 1 |  | 0
089 | SPEC 26 1213 | 1000kva pad mounted oil filled transformer installed per plans and specifications | EA | 1 |  | 0
090 |  | Pad mounted primary metering cabinet per PSO specifications | EA | 1 |  | 0
091 |  | MV cabling from metering cab. to primary switch & primary switch to transformer, 3-#1 25kv, #2G AL, 4"C | LF | 15 |  | 0
092 |  | MV cable terminations | EA | 6 |  | 0
093 |  | Reinforced concrete pad for Primary switch | CY | 4 |  | 0
094 |  | Reinforced concrete pad for Primary metering cabinet | CY | 4 |  | 0
095 | SPEC 26 0533 | 6" PVC schedule 40, long radius elbow. | EA | 4 |  | 0
096 | SPEC 26 0533 | 6" under ground PVC schedule 40, 52" below grade from metering cabinet to PSO dip pole | LF | 200 |  | 0
097 | SPEC 26 0533 | 6" RGS long radius elbow | EA | 2 |  | 0
SUBTOTAL - ADD ALTERNATE #1 (ITEMS 088 THROUGH 097) | [5 empty] | 0
ADD ALTERNATE #2 - Rainforest Contractor Furnished Package Units
BID ITEM | SPEC NO. | DESCRIPTION | UNIT | QTY | DATA INPUT UNIT PRICE | TOTAL EACH ITEM
098 | SPEC 23 7413 | RTU- 1.1 (equipment cost only), 25 TON | EA | 1 |  | 0
099 | SPEC 23 7413 | RTU- 2.1 (equipment cost only), 25 TON | EA | 1 |  | 0
100 | SPEC 23 7413 | RTU-5.1 (equipment cost only), 40 TON | EA | 1 |  | 0
101 | SPEC 23 7413 | RTU-6 (equipment cost only), 16 TON | EA | 1 |  | 0
102 | SPEC 23 7413 | RTU-7 (equipment cost only), 11 TON | EA | 1 |  | 0
SUBTOTAL - ADD ALTERNATE #2 (ITEMS 098 THROUGH 102) | [5 empty] | 0
ADD ALTERNATE #3 - Veterinary Clinic MEP upgrade
BID ITEM | SPEC NO. | DESCRIPTION | UNIT | QTY | DATA INPUT UNIT PRICE | TOTAL EACH ITEM
103 | SPEC 23 7413, 23 3113, 23 0593, 23 0713, 23 3713.13 | Temporary heating/cooling allowance. | LOT | 1 |  | 0
104 | SPEC 02 4119 | Demolition of existing cooling tower, cooling tower pumps, associated above-grade piping; remove all internal piping from existing condenser water pit and seal all existing openings. | LOT | 1 |  | 0
105 | SPEC 02 4119 | Demolition of existing boiler, boiler circulation pump, and associated piping; demolition of existing supply fan and existing combustion air ductwork. | LOT | 1 |  | 0
106 | SPEC 02 4119 | Demolition of existing heat pump loop pumps, hydronic specialties, heat exchanger, and associated piping; coordinate with water treatment service provider regarding removal of existing water treatment equipment. | LOT | 1 |  | 0
107 | SPEC 02 4119 | Demo existing pad, fill existing condenser water pit using native soil/wet sand and prepare for new pad. | LOT | 1 |  | 0
108 |  | Install new reinforced concrete equipment pads, exterior and interior, and anchorage. | LOT | 1 |  | 0
109 | SPEC 23 2113, 23 2116, 23 2123, 23 5216, 23 0923.11, 23 0719, 23 0553 | Installation of heat pump loop duplex packaged pumping system, associated piping and insulation, hydronic specialties, air and dirt separator, expansion tank; provide packaged pumping system's remote control panel to site for electrical contractor to install | LOT | 1 |  | 0
110 | SPEC 23 6514.16, 23 2113, 23 2116, 23 2123, 23 5216, 23 0923.11, 23 0719, 23 0553 | Installation of closed-circuit fluid cooler, steelwork, associated piping including makeup water and drain piping, heat trace, and insulation with jacketing; provide fluid cooler control panel to site for electrical contractor to install | LOT | 1 |  | 0
111 | SPEC 23 5216, 23 2123, 23 2116, 23 2113, 23 0719, 23 0716, 23 0593, 23 0553, 23 0529 | Installation of condensing boiler, associated circulation pump, hydronic piping and insulation, gas-piping connection, and separated combustion roof vent and air intake | LOT | 1 |  | 0
112 |  | Replace existing backflow preventers and PRV stations in existing mechanical room | LOT | 1 |  | 0
113 |  | Building automation system controls installation and integration allowance | LOT | 1 |  | 0
114 | SPEC 23 0593 | Water treatment testing and equipment | LOT | 1 |  | 0
115 | SPEC 23 0593 | Perform startup; test, adjust, and balance installed equipment | LOT | 1 |  | 0
116 | SPEC 26 0519, 26 0573, 26 2726 | Wiring HPLP-1 pumps, 30A-3+G | LF | 80 |  | 0
117 | SPEC 26 0519, 26 0573, 26 2726 | Wiring CCFCN-1 , 80A-3+G | LF | 20 |  | 0
118 | SPEC 26 0519, 26 0573, 26 2726 | Wiring HWP-2, 20-2+G | LF | 30 |  | 0
119 | SPEC 26 2816 | 30A, 3P, NF, 3R, Installed @ Fluid cooler | EA | 2 |  | 0
120 | SPEC 26 0519, 26 0573, 26 2726 | Wiring CCFCN-1 to basin heater 30A-3+G | LF | 30 |  | 0
121 | SPEC 26 0519, 26 0573, 26 2726 | Wiring CCFCN-1 to spray fan, 20A-3+G | LF | 40 |  | 0
122 | SPEC 26 0519, 26 0573, 26 2726 | Wiring CCFCN-1 to tower fan, 50A-3+G | LF | 50 |  | 0
123 | SPEC 26 0519, 26 0573, 26 2726 | Install and wire new receptacle inside equipment room | EA | 4 |  | 0
124 | SPEC 26 2816 | 60A, 3P, NF, 3R Installed @ fluid cooler | EA | 1 |  | 0
125 | SPEC 26 2416 | New circuit breakers added to existing panel | EA | 10 |  | 0
126 | SPEC 26 4313 | Surge Protective Device LS3 series and associated wiring, | EA | 1 |  | 0
127 | SPEC 26 4313 | Surge Protective Device TG series and associated wiring, | EA | 1 |  | 0
128 | SPEC 26 0519, 26 0533, 26 0526 | Wiring to generator panel 60A-3+G | LF | 300 |  | 0
129 | SPEC 26 0519, 26 0573, 26 2726 | Wiring to boiler | EA | 1 |  | 0
130 |  | 150KW natural gas Generator and associated connections | EA | 1 |  | 0
SUBTOTAL - ADD ALTERNATE #3 (ITEMS 103 THROUGH 130) | [5 empty] | 0
SUBTOTAL - ADD ALTERNATES #1 THROUGH #3 (ITEMS 088 THROUGH 130) | [5 empty] | 0
TOTAL BASE BID plus ALTERNATES #1 THROUGH #3 | [5 empty] | 170000

## SIGNATURE PAGE
BASE BID ( ITEMS 001 thru 087 ) | [5 empty] | 170000
ADD ALT #1 ( ITEMS 088 thru 097 ) | [5 empty] | 0
ADD ALT #2 ( ITEMS 098 thru 102 ) | [5 empty] | 0
ADD ALT #3 ( ITEMS 103 thru 130 ) | [5 empty] | 0
TOTAL ( BASE BID + ADD ALTERNATES 1 thru 3 ) | [5 empty] | 170000
Enclosed is a ( ) Bidder's Surety Bond, ( ) Certified Check, ( ) Cashier's Check for
_______________________________________________________________ |  |  |  | Dollars | ($______________________)
| Words |  |  |  |  | Figures
which the City of Tulsa may retain or recover as liquidated damages in the event that the undersigned fails to enter into contract for the work covered by this proposal, provided the Contract is awarded to the undersigned within thirty (30) days, from the date fixed for opening of bids and the undersigned fails to execute said Contract and furnish the required bonds and other requirements as called for in these Contract Documents within thirty (30) days after award of Contract.
Dated at Tulsa, Oklahoma, this ________ day of __________________________, 20_____.
Respectfully submitted,
______________________________________________________________________
(Complete legal name of company)
(State of Organization)
By: |  |  | ATTEST:
_____________________________________ |  |  | ____________________________________________
Title: |  |  | Title: Corporate Secretary
Printed Name: |  |  | Printed Name:
(SEAL)
Address:_____________________________________
____________________________________________
____________________________________________
____________________________________________
____________________________________________
Telephone Number: _______________________ |  |  | Fax Number: __________________________________
By signing above the bidder acknowledges receipt of the following Addenda (give number and date of each):
____________________________________________________________________________________________
____________________________________________________________________________________________
____________________________________________________________________________________________

## CONTRACTOR'S USE
CONTRACTOR'S USE
TULSA ZOO - RAINFOREST HVAC/ELECTRICAL UPGRADES
PROJECT NO: CP 24-20
BID ITEM | SPEC NO. | DESCRIPTION | UNIT | QTY | DATA INPUT UNIT PRICE | TOTAL EACH ITEM
BASE BID:
001 | SPEC 01 2100 | General conditions. | LOT | 1 |  | 0
002 | SPEC 01 2100 | Owner Allowance | ALLOW | 170000 | 1 | 170000
003 | SPEC 01 2100 | Site prep, tree removal, and prepare, level grade for equipment and equipment pad installation | LOT | 1 |  | 0
004 |  | Demolition and removal of existing Governair HVAC Package Housing Unit and (2) Cooling Towers from the site. | LOT | 1 |  | 0
005 |  | Removal of existing roof mounted exhaust fans (EF-1, EF-2,EF-3) Install new corrugated metal panel under exhaust fan EF-2. Provide a water tight seal around roof penetrations. | EA | 3 |  | 0
006 | SPEC 01 4119 | Removal of existing inline exhaust fan (EF-4) and support structure. | EA | 1 |  | 0
007 | SPEC 01 4119 | Removal of existing return ductwork from ground level up to return grille plenum transition. Install sheet metal to cap and seal underground branch duct connection. Removal of existing supply ductwork and fittings at Rm. 124. Demolition of existing supply ductwork (west exterior). Install cap and seal at specified return and supply ductwork, roof openings, and piping. | EA | 3 |  | 0
008 | SPEC 01 4119 | Removal of existing HVAC equipment thermostats and associated wiring | EA | 1 |  | 0
009 | SPEC 01 4119 | Demolition of existing service shed, electrical fixture and wiring. | EA | 1 |  | 0
010 | SPEC 23 1123 | Reconnection of gas services to existing 175kw generator and cafe. | EA | 2 |  | 0
011 | SPEC 23 1123 | New gas service manifold and distribution provisions for services to generators, HVAC package units, new connection to existing 175kw generator, service to cafe. | EA | 1 |  | 0
012 | SPEC 02 4119 | Removal of existing 2" above grade natural gas piping back to gas riser manifold and capping existing service | EA | 1 |  | 0
013 | SPEC 23 0713,23 3113,23 0529, 23 3300 | Install interior supply duct. Provide R8 interior duct insulation on interior ductwork. Provide long rectangular radius elbows | LB | 860 |  | 0
014 | SPEC 23 0713,23 3113 | Install 3" Armaflex insulation and aluminum jacketing for all exterior supply & return ducts. | SF | 7000 |  | 0
015 | SPEC 23 0713,23 3113, 23 3300 | Install exterior supply & return duct, including all long rectangular radius elbows. | LB | 8300 |  | 0
016 | SPEC 23 1123 | Natural Gas service upgrade including (ONG) ONEOK fees, boring, piping, unions, shut off valves, regulators, sediment traps and field connections. | EA | 1 |  | 0
017 | SPEC 23 1123 | Natural gas piping to generators including unions, shut off valves, regulators, sediment traps and all terminations. | EA | 3 |  | 0
018 | SPEC 23 1123 | Gas piping to package units, includes trench, backfill, piping, unions, shut off valves, regulators, sediment traps and terminations. | EA | 10 |  | 0
019 | SPEC 23 3113,23 7413,23 0500 | Set package unit on pad & make required connections for natural gas, ductwork and controls. | EA | 10 |  | 0
020 | SPEC 23 1123 | Condensate piping system for HVAC package units. | EA | 10 |  | 0
021 |  | Install new structurally reinforced concrete pad for HVAC Package Units. | CY | 20 |  | 0
022 | SPEC 23 0500,23 0593, 23 0713 | Connection of RTU 3 supply duct to existing duct @ supply air tunnel. | EA | 1 |  | 0
023 |  | Connection of RTU-5, RTU 5.1 and RTU-2 return air connection to existing central return. | EA | 1 |  | 0
024 | SPEC 23 0500, 23 0593, 23 3113, 23 3423, 23 0529 | Install new exhaust fan on low roof (EF-1, EF-2). Install new Inline exhaust fan (EF-3) and support structure. Provide associated controls for both fans. | EA | 2 |  | 0
025 | SPEC 23 0529 | Rectangular duct supports for exterior ductwork. | EA | 60 |  | 0
026 | SPEC 23 3713.13 | Provide Insect Screening over return grille (R2) free area. Return grille serves RTU-1 & RTU-1.1. | EA | 1 |  | 0
027 | SPEC 23 3300 | Protective Shield at RTU-1.1 primate accessible ductwork locations. | EA | 2 |  | 0
028 | SPEC 23 3300 | Back draft gravity dampers &motorized modulating Dampers & wiring. | LOT | 1 |  | 0
029 | SPEC 12100 | HVAC control system allowance, including LV wiring (exclude raceway)to each package unit, sensors, thermostats, interface modules and all associated hardware. | EA | 10 |  | 0
030 | SPEC 02 4119 | Disconnect, remove and relocate existing generator set per owner direction, demo existing pad and patch existing pad location | EA | 1 |  | 0
031 | SPEC 02 4119 | Disconnect and remove existing secondary conductors from existing PSO transformer, demo existing pad and patch existing pad location | EA | 1 |  | 0
032 | SPEC 02 4119 | Demo. existing transfer switches and associated connections | EA | 2 |  | 0
033 | SPEC 02 4119 | Demolition existing electrical service disconnects | EA | 4 |  | 0
034 |  | Install new site lights with pole base and wiring | EA | 3 |  | 0
035 | SPEC 26 3213 | Generators (3-350KW natural gas units) installed on pad | EA | 3 |  | 0
036 | SPEC 26 2413 | Service switchgear MSB | EA | 1 |  | 0
037 | SPEC 26 3623 | Transfer switch, 800A, 480V, 3P, 4 W, free standing NEMA 3R | EA | 2 |  | 0
038 | SPEC 26 3623 | Transfer switch, 100A, 480V, 3P, 4 W, free standing NEMA 3R | EA | 1 |  | 0
039 |  | Distribution panel "AMDP" | EA | 1 |  | 0
040 |  | Distribution panel "BMDP" | EA | 1 |  | 0
041 | SPEC 26 2413 | Generator switchboard GDP | EA | 1 |  | 0
042 |  | Reinforced concrete generator pad | CY | 50 |  | 0
043 |  | Reinforced concrete switchgear pad | CY | 6 |  | 0
044 |  | Reinforced concrete transformer pad | CY | 4 |  | 0
045 |  | Remote wireless generator monitor | EA | 1 |  | 0
046 |  | Remote emergency stops @ generator | EA | 3 |  | 0
047 | SPEC 26 2416 | Electrical panelboard L1C, installed | EA | 1 |  | 0
048 | SPEC 26 2416 | Electrical Panelboard LS, installed | EA | 1 |  | 0
049 | SPEC 26 2200 | Dry type 112.5kva transformer installed | EA | 1 |  | 0
050 | SPEC 26 4113, 26 0519 | Surge Protective Device LS3 series and associated wiring, | EA | 2 |  | 0
051 | SPEC 26 4113, 26 0519 | Surge Protective Device TG series and associated wiring, | EA | 3 |  | 0
052 | SPEC 26 0519, 26 0533, 26 0526 | Feeder & termination for pad mounted 1000kva PSO furnished transformer to MSB, 1600A-4 | LF | 30 |  | 0
053 | SPEC 26 0519, 26 0533, 26 0526 | Feeder & termination for HVAC package unit RTU-1, 80A-3+G | LF | 50 |  | 0
054 | SPEC 26 0519, 26 0533, 26 0526 | Feeder & Termination for HVAC package unit RTU-1.1, 80A-3+G | LF | 80 |  | 0
055 | SPEC 26 0519, 26 0533, 26 0526 | Feeder & termination for HVAC package unit RTU-2, 80A-3+G | LF | 160 |  | 0
056 | SPEC 26 0519, 26 0533, 26 0526 | Feeder & termination for HVAC package unit RTU-2.1, 80A-3+G | LF | 120 |  | 0
057 | SPEC 26 0519, 26 0533, 26 0526 | Feeder & termination for HVAC package unit RTU-3, 110A-3+G | LF | 80 |  | 0
058 | SPEC 26 0519, 26 0533, 26 0526 | Feeder & termination for HVAC package unit RTU-4, 100A-3+G | LF | 100 |  | 0
059 | SPEC 26 0519, 26 0533, 26 0526 | Feeder & termination for HVAC package unit RTU-5, 110A-3+G | LF | 250 |  | 0
060 | SPEC 26 0519, 26 0533, 26 0526 | Feeder & termination for HVAC package unit RTU-5.1, 110A-3+G | LF | 200 |  | 0
061 | SPEC 26 0519, 26 0533, 26 0526 | Feeder & termination for HVAC package unit RTU-6, 70A-3+G | LF | 150 |  | 0
062 | SPEC 26 0519, 26 0533, 26 0526 | Feeder & termination for HVAC package unit RTU-7, 30A-3+G | LF | 225 |  | 0
063 | SPEC 26 0533 | 3/4" PVC schedule 40 underground control conduit to RTU-1, RTU-1.1, RTU-2, RTU-2.1, RTU-3, RTU-4, RTU-5, RTU-5.1, RTU-6 and RTU-7. | LF | 1500 |  | 0
064 | SPEC 26 0519, 26 0533, 26 0526 | Feeder from BMDP to Anteater building 200-4+G | LF | 180 |  | 0
065 | SPEC 26 0519, 26 0533, 26 0526 | Feeder from ATS3 to panel LS 100-4+G | LF | 40 |  | 0
066 | SPEC 26 0519, 26 0533, 26 0526 | Feeder from BMDP to 112.5 kva transformer 175A-3+G | LF | 200 |  | 0
067 | SPEC 26 0519, 26 0533, 26 0526 | Feeder from 112.5KVA transformer to panel L1C 400A-4+G | LF | 200 |  | 0
068 | SPEC 26 0519, 26 0533, 26 0526 | Feeder from BMDP to H1A 200A-4+G | LF | 40 |  | 0
069 | SPEC 26 0519, 26 0533, 26 0526 | Feeder from BMDP to H1B 200A-4+G | LF | 40 |  | 0
070 | SPEC 26 0519, 26 0533, 26 0526 | Feeder from BMDP to ATS1, 800A-4+G | LF | 20 |  | 0
071 | SPEC 26 0519, 26 0533, 26 0526 | Feeder from AMDP to ATS2, 800A-4+G | LF | 20 |  | 0
072 | SPEC 26 0519, 26 0533, 26 0526 | Feeder from GDP to ATS1, 800A-4+G | LF | 20 |  | 0
073 | SPEC 26 0519, 26 0533, 26 0526 | Feeder from GDP to ATS2, 800A-4+G | LF | 30 |  | 0
074 | SPEC 26 0519, 26 0533, 26 0526 | Feeder from GDP to ATS3, 100A-4+G | LF | 40 |  | 0
075 | SPEC 26 0519, 26 0533, 26 0526 | Feeder from MSB to ATS1, 800A-4+G | LF | 15 |  | 0
076 | SPEC 26 0519, 26 0533, 26 0526 | Feeder from MSB to ATS2, 800A-4+G | LF | 25 |  | 0
077 | SPEC 26 0519, 26 0533, 26 0526 | Feeder from MSB to ATS3, 100A-4+G | LF | 25 |  | 0
078 | SPEC 26 0519, 26 0533, 26 0526 | Feeder from ATS1 to BMDP, 800A-4+G | LF | 200 |  | 0
079 | SPEC 26 0519, 26 0533, 26 0526 | Feeder from ATS2 to AMDP, 800A-4+G | LF | 50 |  | 0
080 | SPEC 26 0519, 26 0533, 26 0526 | Feeder from ATS3 to Panel LS, 100A-4+G | LF | 80 |  | 0
081 | SPEC 26 0519, 26 0533, 26 0526 | Feeder from Generator 1 to GDP, 800A-4+G | LF | 60 |  | 0
082 | SPEC 26 0519, 26 0533, 26 0526 | Feeder from Generator 2 to GDP, 800A-4+G | LF | 50 |  | 0
083 | SPEC 26 0519, 26 0533, 26 0526 | Feeder from Generator 3 to GDP, 800A-4+G | LF | 40 |  | 0
084 |  | EIFS Repair as needed | SF | 10 |  | 0
085 |  | Exterior KALWALL penetration and repair | SF | 8 |  | 0
086 |  | Electrical grounding system | LOT | 1 |  | 0
087 |  | 3500 PSI concrete mix to close off existing supply and return openings to the underground HVAC tunnell | CY | 10 |  | 0
SUBTOTAL - BASE BID ITEMS (ITEMS 001 THROUGH 087) | [5 empty] | 170000
ADD ALTERNATE #1 - Electrical Primary Metering
BID ITEM | SPEC NO. | DESCRIPTION | UNIT | QTY | DATA INPUT UNIT PRICE | TOTAL EACH ITEM
088 |  | 15kv pad mounted primary switch installed as per plans | EA | 1 |  | 0
089 | SPEC 26 1213 | 1000kva pad mounted oil filled transformer installed per plans and specifications | EA | 1 |  | 0
090 |  | Pad mounted primary metering cabinet per PSO specifications | EA | 1 |  | 0
091 |  | MV cabling from metering cab. to primary switch & primary switch to transformer, 3-#1 25kv, #2G AL, 4"C | LF | 15 |  | 0
092 |  | MV cable terminations | EA | 6 |  | 0
093 |  | Reinforced concrete pad for Primary switch | CY | 4 |  | 0
094 |  | Reinforced concrete pad for Primary metering cabinet | CY | 4 |  | 0
095 | SPEC 26 0533 | 4" long radius PVC schedule 40 elbow. | EA | 4 |  | 0
096 | SPEC 26 0533 | 6" under ground PVC schedule 40, 52" below grade from metering cabinet to PSO dip pole | LF | 200 |  | 0
097 | SPEC 26 0533 | 6" RGS long radius elbow | EA | 2 |  | 0
SUBTOTAL - ADD ALTERNATE #1 (ITEMS 088 THROUGH 097) | [5 empty] | 0
ADD ALTERNATE #2 - Rainforest Contractor Furnished Package Units
BID ITEM | SPEC NO. | DESCRIPTION | UNIT | QTY | DATA INPUT UNIT PRICE | TOTAL EACH ITEM
098 | SPEC 23 7413 | RTU- 1.1 (equipment cost only), 25 TON | EA | 1 |  | 0
099 | SPEC 23 7413 | RTU- 2.1 (equipment cost only), 25 TON | EA | 2 |  | 0
100 | SPEC 23 7413 | RTU-5.1 (equipment cost only), 40 TON | EA | 1 |  | 0
101 | SPEC 23 7413 | RTU-6 (equipment cost only), 16 TON | EA | 1 |  | 0
102 | SPEC 23 7413 | RTU-7 (equipment cost only), 11 TON | EA | 1 |  | 0
SUBTOTAL - ADD ALTERNATE #2 (ITEMS 098 THROUGH 102) | [5 empty] | 0
ADD ALTERNATE #3 - Veterinary Clinic MEP upgrade
BID ITEM | SPEC NO. | DESCRIPTION | UNIT | QTY | DATA INPUT UNIT PRICE | TOTAL EACH ITEM
103 | SPEC 23 7413, 23 3113, 23 0593, 23 0713, 23 3713.13 | Temporary heating/cooling allowance. | LOT | 1 |  | 0
104 | SPEC 02 4119 | Demolition of existing cooling tower, cooling tower pumps, associated above-grade piping; remove all internal piping from existing condenser water pit and seal all existing openings. | LOT | 1 |  | 0
105 | SPEC 02 4119 | Demolition of existing boiler, boiler circulation pump, and associated piping; demolition of existing supply fan and existing combustion air ductwork. | LOT | 1 |  | 0
106 | SPEC 02 4119 | Demolition of existing heat pump loop pumps, hydronic specialties, heat exchanger, and associated piping; coordinate with water treatment service provider regarding removal of existing water treatment equipment. | LOT | 1 |  | 0
107 |  | Demo existing pad, fill existing condenser water pit using native soil/wet sand and prepare for new pad. | LOT | 1 |  | 0
108 |  | Install new reinforced concrete equipment pads, exterior and interior, and anchorage. | LOT | 1 |  | 0
109 | SPEC 23 2113, 23 2116, 23 2123, 23 5215, 23 0923.11, 23 0719, 23 0553 | Installation of heat pump loop duplex packaged pumping system, associated piping and insulation, hydronic specialties, air and dirt separator, expansion tank; provide packaged pumping system's remote control panel to site for electrical contractor to install | LOT | 1 |  | 0
110 | SPEC 23 6500, 23 2113, 23 2116, 23 2123, 23 5215, 23 0923.11, 23 0719, 23 0553 | Installation of closed-circuit fluid cooler, steelwork, associated piping including makeup water and drain piping, heat trace, and insulation with jacketing; provide fluid cooler control panel to site for electrical contractor to install | LOT | 1 |  | 0
111 | SPEC 23 5216, 23 2123, 23 2116, 23 2113, 23 0719, 23 0716, 23 0593, 23 0553, 23 0529 | Installation of condensing boiler, associated circulation pump, hydronic piping and insulation, gas-piping connection, and separated combustion roof vent and air intake | LOT | 1 |  | 0
112 |  | Replace existing backflow preventers and PRV stations in existing mechanical room | LOT | 1 |  | 0
113 |  | Building automation system controls installation and integration allowance | LOT | 1 |  | 0
114 | SPEC 23 0593 | Water treatment testing and equipment | LOT | 1 |  | 0
115 | SPEC 23 0593 | Perform startup; test, adjust, and balance installed equipment | LOT | 1 |  | 0
116 | SPEC 26 0519, 26 0573, 26 2726 | Wiring HPLP-1 pumps, 30A-3+G | LF | 80 |  | 0
117 | SPEC 26 0519, 26 0573, 26 2726 | Wiring CCFCN-1 , 80A-3+G | LF | 20 |  | 0
118 | SPEC 26 0519, 26 0573, 26 2726 | Wiring HWP-2, 20-2+G | LF | 30 |  | 0
119 | SPEC 26 2816 | 30A, 3P, NF, 3R, Installed @ Fluid cooler | EA | 2 |  | 0
120 | SPEC 26 0519, 26 0573, 26 2726 | Wiring CCFCN-1 to basin heater 30A-3+G | LF | 30 |  | 0
121 | SPEC 26 0519, 26 0573, 26 2726 | Wiring CCFCN-1 to spray fan, 20A-3+G | LF | 40 |  | 0
122 | SPEC 26 0519, 26 0573, 26 2726 | Wiring CCFCN-1 to tower fan, 50A-3+G | LF | 50 |  | 0
123 | SPEC 26 0519, 26 0573, 26 2726 | Install and wire new receptacle inside equipment room | EA | 4 |  | 0
124 | SPEC 26 2816 | 60A, 3P, NF, 3R Installed @ fluid cooler | EA | 1 |  | 0
125 | SPEC 26 2416 | New circuit breakers added to existing panel | EA | 10 |  | 0
126 | SPEC 26 4113, 26 0519 | Surge Protective Device LS3 series and associated wiring, | EA | 1 |  | 0
127 | SPEC 26 4113, 26 0519 | Surge Protective Device TG series and associated wiring, | EA | 1 |  | 0
128 |  | Wiring to generator panel 60A-3+G | LF | 300 |  | 0
129 | SPEC 26 0519, 26 0573, 26 2726 | Wiring to boiler | EA | 1 |  | 0
130 |  | 150KW natural gas Generator and associated connections | EA | 1 |  | 0
SUBTOTAL - ADD ALTERNATE #3 (ITEMS 103 THROUGH 130) | [5 empty] | 0
SUBTOTAL - ADD ALTERNATES #1 THROUGH #3 (ITEMS 088 THROUGH 130) | [5 empty] | 0
TOTAL BASE BID plus ALTERNATES #1 THROUGH #3 | [5 empty] | 170000