## INSTRUCTIONS
ELECTRONIC BID PROPOSAL INSTRUCTIONS - EXCEL SPREADSHEET
Greenwood Cultural Center Facility Rehabilitation
PROJECT NO: SP 20-6
Please read the following instructions carefully.
1. After opening this file re-save it as your company's name.
2. Open the BID FORM Sheet from the tabs below.
3. Input the unit price of the appropriate pay item in the Data Input cells.
4. Review all data input and check calculations to ensure accuracy of Bid.
5. Print 1hardcopy of the "PROPOSAL" tab, BID FORM and the "SIGNATURE PAGE" tab.
6. Complete and sign the "Signature Page" document.
7. Submit hardcopy and electronic disk with Contract Documents and Specifications for Bid opening date.
AGREEMENT FOR USING ELECTRONIC BID PROPOSAL
By and Between: JCJ Architecture PC, (ARCHITECT/ENGINEER) and RECIPIENT. The enclosed electronic media is provided pursuant to your request and is for your limited use in connection with your submittal of Bid Proposal for Project No. SP 20-6. In no event shall the information be used for any other purpose or be released to third parties without the written consent of the ARCHITECT/ENGINEER. In the event of a discrepancy between the hard copy and this electronic media at delivery or in the future, the hard copy shall govern. ARCHITECT/ENGINEER hereby disclaims any and all liability for the consequences from use of the electronic media and makes no warranty or guarantee of accuracy. RECIPIENT shall assume full responsibility for the uses and consequences of the electronic media. It is agreed that ARCHITECT/ENGINEER has and retains ownership of the electronic media. ARCHITECT/ENGINEER does not warrant or guarantee that the electronic data is compatible with RECIPIENT'S computer hardware or software, and ARCHITECT/ENGINEER'S responsibility for the electronic media is limited to replacement of defective media for a period of thirty (30) days after delivery to RECIPIENT. By opening and using this FILE, You AGREE to these TERMS AND CONDITIONS.

## PROPOSAL
PROPOSAL
Greenwood Cultural Center Facility Rehabilitation
PROJECT NO: SP 20-6
TO: HONORABLE MAYOR
CITY OF TULSA, OKLAHOMA
THE UNDERSIGNED BIDDER, having carefully examined the drawings, specifications, and other Contract Documents of the above project presently on file in the City Clerk, City of Tulsa Oklahoma:
CERTIFIES THAT he has inspected the site of the proposed work and has full knowledge of the extent and character of the work involved, construction difficulties that may be encountered, and materials necessary for construction, class and type of excavation, and all other factors affecting or which may be affected by the specified work; and
CERTIFIES THAT he has not entered into collusion with any other bidder or prospective bidder relative to the project and/or bid: and
HEREBY PROPOSES: to enter into a contract to provide all necessary labor, materials, equipment and tools to completely construct and finish all the work required by the Contract Documents hereto attached and other documents referred to therein: to complete said work within 180 calendar days after the work order is issued; and to accept in full payment therefore the amount set forth below for all work actually performed as computed by the Engineer as set forth in the Contract.
Basis of Award
IT SHOULD BE NOTED THAT THE LOWEST RESPONSIBLE BID SHALL BE DETERMINED BY THE TOTAL BASE BID PLUS ADDITIVE ALTERNATES NO. 1 thru 6. THE ITEMS IN ADDITIVE ALTERNATES NO. 1 thru 6 MAY OR MAY NOT BE INCLUDED IN THE CONTRACT AWARD AT THE SOLE DISCRETION OF THE CITY OF TULSA. ANY PROPOSAL SUBMITTED WITH THE ADDITIVE ALTERNATES 1 thru 6 INCOMPLETE SHALL BE CONSIDERED NON-RESPONSIVE.
Note: - Item numbers omitted are not a part of the Contract.

## BID FORM
PROPOSAL
Greenwood Cultural Center Facility Rehabilitation
PROJECT NO: SP 20-6
BID ITEM | SPEC NO. | DESCRIPTION | UNIT | QTY | DATA INPUT UNIT PRICE | TOTAL EACH ITEM
BASE BID:
01 GENERAL REQUIREMENTS
1 | 10000 | GENERAL CONDITIONS | MONTH | 6 |  | 0
2 | 10000 | OWNER ALLOWANCE | ALLOW | 80000 | 1 | 80000
02 EXISTING CONDITIONS
3 | 24100 | SELECTIVE DEMOLITION - INTERIOR REMODEL | SF | 1700 |  | 0
03 CONCRETE
4 | 33000 | CONCRETE | CY | 15 |  | 0
5 | 33000 | REBAR REINFORCEMENT | LF | 1225 |  | 0
6 | 33511 | PENETRATING CLEAR SEALER - CONC-S1 | SF | 30 |  | 0
05 METALS
7 | 53100 | STEEL DECKING - REPAIR | SF | 1000 |  | 0
8 | 53100 | STEEL DECKING - REPLACEMENT OR OVERLAY | SF | 1000 |  | 0
9 | 55000 | METAL FABRICATIONS | LF | 24 |  | 0
06 WOOD, PLASTICS, & COMPOSITES
10 | 61053 | ROUGH CARPENTRY - WOOD BLOCKING, CURBING, AND NAILERS | LF | 1400 |  | 0
11 | 68316 | PLASTIC PANELING - FRP-1 | SF | 150 |  | 0
07 THERMAL & MOISTURE PROTECTION
12 | 70150.19 | PREPARATION FOR RE-ROOFING - BUILT-UP ROOFING | SF | 16850 |  | 0
13 | 70150.19 | PREPARATION FOR RE-ROOFING - BALLASTED ROOFING | SF | 1450 |  | 0
14 | 75400 | THERMOPLASTIC MEMBRANE ROOFING | SF | 18300 |  | 0
15 | 76200 | SHEET METAL FLASHING AND TRIM | LF | 900 |  | 0
16 | 76200 | GUTTERS | LF | 35 |  | 0
17 | 76200 | THROUGH WALL SCUPPERS | EA | 5 |  | 0
18 | 76200 | ROOF SPECIALITIES - COPINGS | LF | 505 |  | 0
19 | 77200 | ROOF ACCESSORIES - EQUIPMENT SUPPORTS | EA | 8 |  | 0
20 | 77200 | ROOF ACCESSORIES - PIPE SUPPORTS | EA | 55 |  | 0
21 | 79200 | JOINT SEALANTS | SYS | 1 |  | 0
08 OPENINGS
22 | 81213 | HOLLOW METAL DOOR FRAMES | EA | 5 |  | 0
23 | 81416 | FLUSH WOOD DOORS | EA | 5 |  | 0
24 | 84313 | ALUMINUM FRAMED STOREFRONTS | SF | 202 |  | 0
25 | 87100 | DOOR HARDWARE - SET 3.0 | EA | 1 |  | 0
26 | 87100 | DOOR HARDWARE - SET 5.0 | EA | 1 |  | 0
27 | 87100 | DOOR HARDWARE - SET 7.0 | EA | 1 |  | 0
28 | 87100 | DOOR HARDWARE - SET 8.0 | EA | 2 |  | 0
29 | 88000 | GLAZING | SF | 180 |  | 0
09 FINISHES
30 | 90561 | COMMON WORK RESULTS FOR FLOORING PREPARATION | SF | 910 |  | 0
31 | 92116 | A1 PARTITION | SF | 240 |  | 0
32 | 92116 | A2 PARTITION | SF | 850 |  | 0
33 | 92116 | A3 PARTITION | SF | 330 |  | 0
34 | 92116 | C2 PARTITION | SF | 30 |  | 0
35 | 92116 | F1 PARTITION | SF | 410 |  | 0
36 | 92116 | GYP CEILING | SF | 880 |  | 0
37 | 93000 | TILING - T-1 | SF | 880 |  | 0
38 | 93000 | TILING - T-2 | SF | 1490 |  | 0
39 | 95100 | ACOUSTICAL CEILINGS - ACP-1 | SF | 130 |  | 0
40 | 96500 | RESILIENT BASE - WB-1 | LF | 40 |  | 0
41 | 99123 | INTERIOR PAINTING - P-1 | SF | 1720 |  | 0
42 | 99123 | INTERIOR PAINTING - P-2 | SF | 660 |  | 0
43 | 99123 | INTERIOR PAINTING - P-3 | EA | 5 |  | 0
44 | 101419 | ROOM ID SIGNAGE | EA | 3 |  | 0
45 | 102113.19 | PLASTIC TOILET COMPARTMENTS - STANDARD STALL | EA | 10 |  | 0
46 | 102113.19 | PLASTIC TOILET COMPARTMENTS - WHEELCHAIR ACCESS. STALL | EA | 2 |  | 0
47 | 102113.19 | PLASTIC TOILET COMPARTMENTS - AMBULATORY ACCESS. STALL | EA | 2 |  | 0
48 | 102113.19 | PLASTIC TOILET COMPARTMENTS - URINAL SCREEN | EA | 3 |  | 0
49 | 102800 | TOILET ACCESSORIES - TA-1B | EA | 3 |  | 0
50 | 102800 | TOILET ACCESSORIES - TA-1D | EA | 3 |  | 0
51 | 102800 | TOILET ACCESSORIES - TA-1E | EA | 7 |  | 0
52 | 102800 | TOILET ACCESSORIES - TA-2 | EA | 15 |  | 0
53 | 102800 | TOILET ACCESSORIES - TA-3D | EA | 3 |  | 0
54 | 102800 | TOILET ACCESSORIES - TA-5B | EA | 12 |  | 0
55 | 102800 | TOILET ACCESSORIES - TA-11 | EA | 9 |  | 0
56 | 102800 | TOILET ACCESSORIES - TA-13A | EA | 14 |  | 0
57 | 102800 | TOILET ACCESSORIES - TA-14 | EA | 1 |  | 0
58 | 102800 | TOILET ACCESSORIES - TA-22D | EA | 1 |  | 0
59 | 104400 | FIRE EXTINGUISHER CABINET | EA | 2 |  | 0
60 | 104400 | FIRE EXTINGUISHER | EA | 2 |  | 0
21 FIRE SUPPRESSION
61 | 211300 | FIRE PROTECTION DEMOLITION | SYS | 1 |  | 0
62 | 211300 | FIRE PROTECTION | SYS | 1 |  | 0
22 PLUMBING
63 | 220719 | PLUMBING PIPING INSULATION | SYS | 1 |  | 0
64 | 221005 | PLUMBING DEMOLITION | SYS | 1 |  | 0
65 | 221005 | PLUMBING PIPING - DOMESTIC WATER | SYS | 1 |  | 0
66 | 221005 | PLUMBING PIPING - WASTE AND VENT | SYS | 1 |  | 0
67 | 221005 | PLUMBING PIPING - NATURAL GAS | SYS | 1 |  | 0
68 | 223000 | PLUMBING EQUIPMENT - WATER HEATERS | EA | 2 |  | 0
69 | 223000 | PLUMBING EQUIPMENT - CIRCULATOR PUMPS | EA | 2 |  | 0
70 | 224000 | PLUMBING FIXTURES - WATER CLOSETS AND URINALS | EA | 18 |  | 0
71 | 224000 | PLUMBING FIXTURES - SINKS AND LAVATORIES | EA | 3 |  | 0
72 | 224000 | PLUMBING FIXTURES - MOP AND SERVICE SINKS | EA | 1 |  | 0
73 | 224000 | PLUMBING FIXTURES - WATER FOUNTAINS | EA | 2 |  | 0
23 HVAC
74 | 230130.51 | DUCT CLEANING | SYS | 1 |  | 0
75 | 233100 | MECHANICAL DEMOLITION | SYS | 1 |  | 0
76 | 233100 | DUCTWORK | LBS | 650 |  | 0
77 | 231123 | FACILITY NATURAL-GAS PIPING | FT | 100 |  | 0
78 | 233700 | D/G/R | EA | 14 |  | 0
79 | 233423 | HVAC POWER VENTILATORS | EA | 3 |  | 0
80 | 232300 | REFRIGERATION PIPING | FT | 305 |  | 0
81 | 230593 | TESTING, ADJUSTING, AND BALANCING FOR HVAC | SYS | 1 |  | 0
82 | 230713 | DUCT INSULATION | SF | 1000 |  | 0
83 | 230719 | PIPE INSULATION | FT | 305 |  | 0
84 | 235100 | BREECHINGS, CHIMNEYS, STACKS | SYS | 1 |  | 0
85 | 235400 | FURNACES | EA | 9 |  | 0
86 | 237416 | PACKAGED ROOFTOP UNITS | EA | 6 |  | 0
87 | 238126.13 | SMALL CAPACITY SPLIT SYSTEM AIR CONDITIONERS | EA | 1 |  | 0
88 | 233600 | ELECTRIC DUCT COIL | EA | 7 |  | 0
89 | 233700 | GRAVITY VENTILATOR | EA | 4 |  | 0
90 | 233423 | ROOF INTAKE FANS (MAKE UP AIR UNIT) | EA | 1 |  | 0
26 ELECTRICAL
91 | 260505 | ELECTRICAL DEMOLITION | SYS | 1 |  | 0
92 | 260519 | LOW VOLTAGE ELECTRICAL POWER CONDUCTORS | SYS | 1 |  | 0
93 | 260526 | GROUNDING AND BONDING FOR ELECTRICAL SYSTEMS | SYS | 1 |  | 0
94 | 260529 | HANGERS AND SUPPORTS FOR ELECTRICAL SYSTEMS | SYS | 1 |  | 0
95 | 260533.13 | CONDUIT FOR ELECTRICAL SYSTEMS | SYS | 1 |  | 0
96 | 260533.16 | BOXES FOR ELECTRICAL SYSTEMS | SYS | 1 |  | 0
97 | 260533.23 | SURFACE RACEWAYS FOR ELECTRICAL SYSTEMS | SYS | 1 |  | 0
98 | 260553 | IDENTIFICATION FOR ELECTRICAL SYSTEMS | SYS | 1 |  | 0
99 | 260583 | WIRING CONNECTIONS | SYS | 1 |  | 0
100 | 260923 | LIGHTING CONTROL DEVICES | EA | 2 |  | 0
101 | 262416 | PANELBOARDS | EA | 1 |  | 0
102 | 262726 | WIRING DEVICES | EA | 60 |  | 0
103 | 265100 | INTERIOR LIGHTING | EA | 50 |  | 0
CITY OF TULSA ENGINEERING SERVICES STANDARD DETAILS
104 | 230(A) | SOLID SLAB SODDING | SY | 187 |  | 0
105 | 315 | SEWER SERVICE CONNECTION | EA | 1 |  | 0
106 | 610(A) | CONCRETE SIDEWALK (4") | SY | 53 |  | 0
107 | 619(B) | REMOVAL OF SIDEWALK | SY | 53 |  | 0
|  | TOTAL BASE BID |  |  |  | 80000
ADD ALTERNATE #1
02 EXISTING CONDITIONS
108 | 24100 | SELECTIVE DEMOLITION - INTERIOR REMODEL | SF | 200 |  | 0
06 WOOD, PLASTICS, & COMPOSITES
109 | 64100 | GIFT SHOP DISPLAY | SYS | 1 |  | 0
110 | 64100 | ARCHITECTURAL WOOD CASEWORK | LF | 18 |  | 0
08 OPENINGS
111 | 81213 | HOLLOW METAL DOOR FRAMES | EA | 1 |  | 0
112 | 81413 | FLUSH WOOD DOORS | EA | 1 |  | 0
113 | 84313 | ALUMINUM FRAMED STOREFRONTS | SF | 40 |  | 0
114 | 87100 | DOOR HARDWARE - SET 4.0 | EA | 1 |  | 0
115 | 87100 | DOOR HARDWARE - SET 6.0 | EA | 1 |  | 0
09 FINISHES
116 | 90561 | COMMON WORK RESULTS FOR FLOORING PREPARATION | SF | 3620 |  | 0
117 | 92116 | A1 PARTITION | SF | 150 |  | 0
118 | 92116 | C2 PARTITION | SF | 120 |  | 0
119 | 92116 | GYP CEILING | SF | 40 |  | 0
120 | 93000 | TILING - T-4 | SF | 80 |  | 0
121 | 95100 | ACOUSTICAL CEILINGS - ACP-1 | SF | 170 |  | 0
122 | 96500 | RESILIENT BASE - WB-1 | LF | 420 |  | 0
123 | 96500 | RESILIENT TILE FLOORING - FT-2 | SF | 3400 |  | 0
124 | 96813 | TILE CARPETING - CPT-2 | SF | 140 |  | 0
125 | 97200 | WALL COVERINGS - WC-2 | SF | 560 |  | 0
126 | 99123 | INTERIOR PAINTING - P-1 | SF | 6050 |  | 0
127 | 99123 | INTERIOR PAINTING - P-2 | SF | 2700 |  | 0
128 | 99123 | INTERIOR PAINTING - P-3 | EA | 12 |  | 0
10 SPECIALITIES
129 | 101419 | DIMENSIONAL SIGNAGE - 12" CHARACTERS | EA | 23 |  | 0
21 FIRE PROTECTION
130 | 211300 | FIRE PROTECTION DEMOLITION | SYS | 1 |  | 0
131 | 211300 | FIRE PROTECTION | SYS | 1 |  | 0
23 HVAC
132 | 233100 | MECHANICAL DEMOLITION | SYS | 1 |  | 0
133 | 233100 | DUCTWORK | LBS | 8 |  | 0
134 | 233700 | D/G/R | EA | 1 |  | 0
135 | 230593 | TESTING, ADJUSTING, AND BALANCING FOR HVAC | SYS | 1 |  | 0
136 | 230713 | DUCT INSULATION | SF | 4 |  | 0
26 ELECTRICAL
137 | 260505 | ELECTRICAL DEMOLITION | SYS | 1 |  | 0
138 | 265100 | INTERIOR LIGHTING | EA | 2 |  | 0
|  | TOTAL ADD ALTERNATE #1 |  |  |  | 0
ADD ALTERNATE #2
02 EXISTING CONDITIONS
139 | 24100 | SELECTIVE DEMOLITION - INTERIOR REMODEL | SF | 700 |  | 0
140 | 24100 | SELECTIVE DEMOLITION - GALLERY LIGHT FIXTURES | LF | 160 |  | 0
09 FINISHES
141 | 92116 | C2 PARTITION | SF | 950 |  | 0
142 | 92116 | GYP CEILING | SF | 40 |  | 0
143 | 95100 | ACOUSTICAL CEILINGS - ACP-1 | SF | 700 |  | 0
144 | 99123 | INTERIOR PAINTING - P-1 | SF | 950 |  | 0
145 | 99123 | INTERIOR PAINTING - P-2 | SF | 40 |  | 0
21 FIRE PROTECTION
146 | 211300 | FIRE PROTECTION DEMOLITION | SYS | 1 |  | 0
147 | 211300 | FIRE PROTECTION | SYS | 1 |  | 0
23 HVAC
148 | 233100 | MECHANICAL DEMOLITION | SYS | 1 |  | 0
149 | 233100 | DUCTWORK | LBS | 16 |  | 0
150 | 233700 | D/G/R | EA | 2 |  | 0
151 | 230593 | TESTING, ADJUSTING, AND BALANCING FOR HVAC | SYS | 1 |  | 0
152 | 230713 | DUCT INSULATION | SF | 65 |  | 0
26 ELECTRICAL
153 | 260505 | ELECTRICAL DEMOLITION | SYS | 1 |  | 0
154 | 260533.13 | CONDUIT FOR ELECTRICAL SYSTEMS | SYS | 1 |  | 0
155 | 260533.16 | BOXES FOR ELECTRICAL SYSTEMS | SYS | 1 |  | 0
156 | 260583 | WIRING CONNECTIONS | SYS | 1 |  | 0
157 | 265100 | INTERIOR LIGHTING | EA | 35 |  | 0
|  | TOTAL ADD ALTERNATE #2 |  |  |  | 0
ADD ALTERNATE #3
02 EXISTING CONDITIONS
158 | 24100 | SELECTIVE DEMOLITION | SF | 5720 |  | 0
08 OPENINGS
159 | 81213 | HOLLOW METAL DOOR FRAMES | EA | 3 |  | 0
160 | 81416 | FLUSH WOOD DOORS | EA | 6 |  | 0
161 | 84313 | ALUMINUM FRAMED STOREFRONTS | SF | 42 |  | 0
162 | 87100 | DOOR HARDWARE - SET 1.0 | EA | 1 |  | 0
163 | 87100 | DOOR HARDWARE - SET 2.0 | EA | 3 |  | 0
164 | 87100 | DOOR HARDWARE - SET 10.0 | EA | 3 |  | 0
09 FINISHES
165 | 90561 | COMMON WORK RESULTS FOR FLOORING PREPARATION | SF | 9850 |  | 0
166 | 92116 | C1 PARTITION | SF | 560 |  | 0
167 | 92116 | C3 PARTITION | SF | 320 |  | 0
168 | 92116 | D1 PARTITION | SF | 1470 |  | 0
169 | 92116 | GB-11 AT WEST WALL OF MULTIPURPOSE ROOM | SF | 950 |  | 0
170 | 92116 | GYP CEILING | SF | 800 |  | 0
171 | 95100 | ACOUSTICAL CEILINGS - ACP-1 | SF | 5480 |  | 0
172 | 96500 | RESILIENT BASE - WB-1 | LF | 560 |  | 0
173 | 96500 | RESILIENT TILE FLOORING - FT-1 | SF | 2830 |  | 0
174 | 96500 | RESILIENT TILE FLOORING - FT-2 | SF | 7020 |  | 0
175 | 97200 | WALL COVERINGS - WC-1 | SF | 640 |  | 0
176 | 97200 | WALL COVERINGS - WC-3 | SF | 1250 |  | 0
177 | 99123 | INTERIOR PAINTING - P-1 | SF | 5830 |  | 0
178 | 99123 | INTERIOR PAINTING - P-2 | SF | 11670 |  | 0
179 | 99123 | INTERIOR PAINTING - P-3 | EA | 8 |  | 0
10 SPECIALITIES
180 | 104400 | FIRE EXTINGUISHER CABINET | EA | 4 |  | 0
181 | 104400 | FIRE EXTINGUISHER | EA | 4 |  | 0
182 | 107316.13 | METAL CANOPIES | EA | 1 |  | 0
12 FURNISHINGS
183 | - | TICKET TABLES | EA | 2 |  | 0
21 FIRE PROTECTION
184 | 211300 | FIRE PROTECTION DEMOLITION | SYS | 1 |  | 0
185 | 211300 | FIRE PROTECTION | SYS | 1 |  | 0
23 HVAC
186 | 233100 | MECHANICAL DEMOLITION | SYS | 1 |  | 0
187 | 233100 | DUCTWORK | LBS | 605 |  | 0
188 | 233700 | D/G/R | EA | 64 |  | 0
189 | 230593 | TESTING, ADJUSTING, AND BALANCING FOR HVAC | SYS | 1 |  | 0
190 | 230713 | DUCT INSULATION | SF | 2400 |  | 0
26 ELECTRICAL
191 | 260505 | ELECTRICAL DEMOLITION | SYS | 1 |  | 0
192 | 260526 | GROUNDING AND BONDING FOR ELECTRICAL SYSTEMS | SYS | 1 |  | 0
193 | 260529 | HANGERS AND SUPPORTS FOR ELECTRICAL SYSTEMS | SYS | 1 |  | 0
194 | 260533.13 | CONDUIT FOR ELECTRICAL SYSTEMS | SYS | 1 |  | 0
195 | 260533.16 | BOXES FOR ELECTRICAL SYSTEMS | SYS | 1 |  | 0
196 | 260553 | IDENTIFICATION FOR ELECTRICAL SYSTEMS | SYS | 1 |  | 0
197 | 260583 | WIRING CONNECTIONS | SYS | 1 |  | 0
198 | 262416 | PANELBOARDS | EA | 1 |  | 0
199 | 262726 | WIRING DEVICES | SYS | 1 |  | 0
200 | 262813 | FUSES | SYS | 1 |  | 0
201 | 265100 | INTERIOR LIGHTING | EA | 88 |  | 0
|  | TOTAL ADD ALTERNATE #3 |  |  |  | 0
ADD ALTERNATE #4
10 SPECIALITIES
202 | 102239 | OPERABLE PARTITIONS | SF | 5300 |  | 0
|  | TOTAL ADD ALTERNATE #4 |  |  |  | 0
ADD ALTERNATE #5
02 EXISTING CONDITIONS
203 | 24100 | SELECTIVE DEMOLITION | SF | 4100 |  | 0
09 FINISHES
204 | 90561 | COMMON WORK RESULTS FOR FLOORING PREPARATION | SF | 4280 |  | 0
205 | 92116 | GYP CEILING | SF | 480 |  | 0
206 | 95100 | ACOUSTICAL CEILINGS - ACP-1 | SF | 3600 |  | 0
207 | 96500 | RESILIENT BASE - WB-1 | LF | 770 |  | 0
208 | 96500 | RESILIENT TILE FLOORING - FT-2 | SF | 260 |  | 0
209 | 96813 | TILE CARPETING - CPT-1 | SF | 4020 |  | 0
210 | 99123 | INTERIOR PAINTING - P-1 | SF | 6020 |  | 0
211 | 99123 | INTERIOR PAINTING - P-2 | SF | 500 |  | 0
212 | 99123 | INTERIOR PAINTING - P-3 | EA | 18 |  | 0
12 FURNISHINGS
213 | 122400 | ROLLER WINDOW SHADES - WT-1 | EA | 6 |  | 0
214 | 122400 | ROLLER WINDOW SHADES - WT-2 | EA | 5 |  | 0
21 FIRE PROTECTION
215 | 211300 | FIRE PROTECTION DEMOLITION | SYS | 1 |  | 0
216 | 211300 | FIRE PROTECTION | SYS | 1 |  | 0
23 HVAC
217 | 230130.51 | DUCT CLEANING | SYS | 1 |  | 0
218 | 233100 | MECHANICAL DEMOLITION | SYS | 1 |  | 0
219 | 233100 | DUCTWORK | LBS | 480 |  | 0
220 | 233700 | D/G/R | EA | 49 |  | 0
221 | 232300 | REFRIGERATION PIPING | FT | 40 |  | 0
222 | 230593 | TESTING, ADJUSTING, AND BALANCING FOR HVAC | SYS | 1 |  | 0
223 | 230713 | DUCT INSULATION | SF | 3105 |  | 0
224 | 230719 | PIPE INSULATION | FT | 40 |  | 0
225 | 235100 | BREECHINGS, CHIMNEYS, STACKS | SYS | 1 |  | 0
226 | 238126.13 | SMALL CAPACITY SPLIT SYSTEM AIR CONDITIONERS | EA | 1 |  | 0
227 | 238419 | DEHUMIDIFIER | EA | 1 |  | 0
26 ELECTRICAL
228 | 260505 | ELECTRICAL DEMOLITION | SYS | 1 |  | 0
229 | 265100 | INTERIOR LIGHTING | EA | 70 |  | 0
|  | TOTAL ADD ALTERNATE #5 |  |  |  | 0
ADD ALTERNATE #6
02 EXISTING CONDITIONS
230 | 24100 | SELECTIVE DEMOLITION | SF | 49 |  | 0
06 WOOD, PLASTICS, & COMPOSITES
231 | 64100 | ARCHITECTURAL WOOD CASEWORK | LF | 18 |  | 0
22 PLUMBING
232 | 221005 | PLUMBING DEMOLITION | SYS | 1 |  | 0
233 | 221005 | PLUMBING PIPING - DOMESTIC WATER | SYS | 1 |  | 0
234 | 224000 | PLUMBING FIXTURES - SINK, FAUCET | SYS | 1 |  | 0
|  | TOTAL ADD ALTERNATE #6 |  |  |  | 0
|  | TOTAL BASE BID plus ALTERNATES 1 thru 6 |  |  |  | 80000

## SIGNATURE PAGE
BASE BID (ITEMS 001 thru 107) | [5 empty] | 80000
ADD ALT #1 (ITEMS 108 thru 138) | [5 empty] | 0
ADD ALT #2 (ITEMS 139 thru 157) | [5 empty] | 0
ADD ALT #3 (ITEMS 158 thru 201) | [5 empty] | 0
ADD ALT #4 (ITEM 202) | [5 empty] | 0
ADD ALT #5 (ITEMS 203 thru 229) | [5 empty] | 0
ADD ALT #6 (ITEMS 230 thru 232) | [5 empty] | 0
TOTAL (BASE BID + ADD ALTERNATES 1 thru 6) | [5 empty] | 80000
Enclosed is a ( ) Bidder's Surety Bond, ( ) Certified Check, ( ) Cashier's Check for
_______________________________________________________________ |  |  |  | Dollars | ($______________________)
| Words |  |  |  |  | Figures
which the City of Tulsa may retain or recover as liquidated damages in the event that the undersigned fails to enter into contract for the work covered by this proposal, provided the Contract is awarded to the undersigned within thirty (30) days, from the date fixed for opening of bids and the undersigned fails to execute said Contract and furnish the required bonds and other requirements as called for in these Contract Documents within thirty (30) days after award of Contract.
Dated at Tulsa, Oklahoma, this ________ day of __________________________, 20_____.
Respectfully submitted,
______________________________________________________________________
(Complete legal name of company)
(State of Organization)
By: |  |  | ATTEST:
_____________________________________ |  |  | ____________________________________________
Title: |  |  | Title: Corporate Secretary
Printed Name: |  |  | Printed Name:
(SEAL)
Address:_____________________________________
____________________________________________
____________________________________________
____________________________________________
____________________________________________
Telephone Number: _______________________ |  |  | Fax Number: __________________________________
By signing above the bidder acknowledges receipt of the following Addenda (give number and date of each):
____________________________________________________________________________________________
____________________________________________________________________________________________
____________________________________________________________________________________________

## CONTRACTORS USE
CONTRACTOR'S USE
Greenwood Cultural Center Facility Rehabilitation
PROJECT NO: SP 20-6
BID ITEM | SPEC NO. | DESCRIPTION | UNIT | QTY | DATA INPUT UNIT PRICE | TOTAL EACH ITEM
BASE BID:
01 GENERAL REQUIREMENTS
1 | 10000 | GENERAL CONDITIONS | MONTH | 6 |  | 0
2 | 10000 | OWNER ALLOWANCE | ALLOW | 80000 | 1 | 80000
02 EXISTING CONDITIONS
3 | 24100 | SELECTIVE DEMOLITION - INTERIOR REMODEL | SF | 1700 |  | 0
03 CONCRETE
4 | 33000 | CONCRETE | CY | 15 |  | 0
5 | 33000 | REBAR REINFORCEMENT | LF | 1225 |  | 0
6 | 33511 | PENETRATING CLEAR SEALER - CONC-S1 | SF | 30 |  | 0
05 METALS
7 | 53100 | STEEL DECKING - REPAIR | SF | 1000 |  | 0
8 | 53100 | STEEL DECKING - REPLACEMENT OR OVERLAY | SF | 1000 |  | 0
9 | 55000 | METAL FABRICATIONS | LF | 24 |  | 0
06 WOOD, PLASTICS, & COMPOSITES
10 | 61053 | ROUGH CARPENTRY - WOOD BLOCKING, CURBING, AND NAILERS | LF | 1400 |  | 0
11 | 68316 | PLASTIC PANELING - FRP-1 | SF | 150 |  | 0
07 THERMAL & MOISTURE PROTECTION
12 | 70150.19 | PREPARATION FOR RE-ROOFING - BUILT-UP ROOFING | SF | 16850 |  | 0
13 | 70150.19 | PREPARATION FOR RE-ROOFING - BALLASTED ROOFING | SF | 1450 |  | 0
14 | 75400 | THERMOPLASTIC MEMBRANE ROOFING | SF | 18300 |  | 0
15 | 76200 | SHEET METAL FLASHING AND TRIM | LF | 900 |  | 0
16 | 76200 | GUTTERS | LF | 35 |  | 0
17 | 76200 | THROUGH WALL SCUPPERS | EA | 5 |  | 0
18 | 76200 | ROOF SPECIALITIES - COPINGS | LF | 505 |  | 0
19 | 77200 | ROOF ACCESSORIES - EQUIPMENT SUPPORTS | EA | 8 |  | 0
20 | 77200 | ROOF ACCESSORIES - PIPE SUPPORTS | EA | 55 |  | 0
21 | 79200 | JOINT SEALANTS | SYS | 1 |  | 0
08 OPENINGS
22 | 81213 | HOLLOW METAL DOOR FRAMES | EA | 5 |  | 0
23 | 81416 | FLUSH WOOD DOORS | EA | 5 |  | 0
24 | 84313 | ALUMINUM FRAMED STOREFRONTS | SF | 202 |  | 0
25 | 87100 | DOOR HARDWARE - SET 3.0 | EA | 1 |  | 0
26 | 87100 | DOOR HARDWARE - SET 5.0 | EA | 1 |  | 0
27 | 87100 | DOOR HARDWARE - SET 7.0 | EA | 1 |  | 0
28 | 87100 | DOOR HARDWARE - SET 8.0 | EA | 2 |  | 0
29 | 88000 | GLAZING | SF | 180 |  | 0
09 FINISHES
30 | 90561 | COMMON WORK RESULTS FOR FLOORING PREPARATION | SF | 910 |  | 0
31 | 92116 | A1 PARTITION | SF | 240 |  | 0
32 | 92116 | A2 PARTITION | SF | 850 |  | 0
33 | 92116 | A3 PARTITION | SF | 330 |  | 0
34 | 92116 | C2 PARTITION | SF | 30 |  | 0
35 | 92116 | F1 PARTITION | SF | 410 |  | 0
36 | 92116 | GYP CEILING | SF | 880 |  | 0
37 | 93000 | TILING - T-1 | SF | 880 |  | 0
38 | 93000 | TILING - T-2 | SF | 1490 |  | 0
39 | 95100 | ACOUSTICAL CEILINGS - ACP-1 | SF | 130 |  | 0
40 | 96500 | RESILIENT BASE - WB-1 | LF | 40 |  | 0
41 | 99123 | INTERIOR PAINTING - P-1 | SF | 1720 |  | 0
42 | 99123 | INTERIOR PAINTING - P-2 | SF | 660 |  | 0
43 | 99123 | INTERIOR PAINTING - P-3 | EA | 5 |  | 0
10 SPECIALITIES
44 | 101419 | ROOM ID SIGNAGE | EA | 3 |  | 0
45 | 102113.19 | PLASTIC TOILET COMPARTMENTS - STANDARD STALL | EA | 10 |  | 0
46 | 102113.19 | PLASTIC TOILET COMPARTMENTS - WHEELCHAIR ACCESS. STALL | EA | 2 |  | 0
47 | 102113.19 | PLASTIC TOILET COMPARTMENTS - AMBULATORY ACCESS. STALL | EA | 2 |  | 0
48 | 102113.19 | PLASTIC TOILET COMPARTMENTS - URINAL SCREEN | EA | 3 |  | 0
49 | 102800 | TOILET ACCESSORIES - TA-1B | EA | 3 |  | 0
50 | 102800 | TOILET ACCESSORIES - TA-1D | EA | 3 |  | 0
51 | 102800 | TOILET ACCESSORIES - TA-1E | EA | 7 |  | 0
52 | 102800 | TOILET ACCESSORIES - TA-2 | EA | 15 |  | 0
53 | 102800 | TOILET ACCESSORIES - TA-3D | EA | 3 |  | 0
54 | 102800 | TOILET ACCESSORIES - TA-5B | EA | 12 |  | 0
55 | 102800 | TOILET ACCESSORIES - TA-11 | EA | 9 |  | 0
56 | 102800 | TOILET ACCESSORIES - TA-13A | EA | 14 |  | 0
57 | 102800 | TOILET ACCESSORIES - TA-14 | EA | 1 |  | 0
58 | 102800 | TOILET ACCESSORIES - TA-22D | EA | 1 |  | 0
59 | 104400 | FIRE EXTINGUISHER CABINET | EA | 2 |  | 0
60 | 104400 | FIRE EXTINGUISHER | EA | 2 |  | 0
21 FIRE SUPPRESSION
61 | 211300 | FIRE PROTECTION DEMOLITION | SYS | 1 |  | 0
62 | 211300 | FIRE PROTECTION | SYS | 1 |  | 0
22 PLUMBING
63 | 220719 | PLUMBING PIPING INSULATION | SYS | 1 |  | 0
64 | 221005 | PLUMBING DEMOLITION | SYS | 1 |  | 0
65 | 221005 | PLUMBING PIPING - DOMESTIC WATER | SYS | 1 |  | 0
66 | 221005 | PLUMBING PIPING - WASTE AND VENT | SYS | 1 |  | 0
67 | 221005 | PLUMBING PIPING - NATURAL GAS | SYS | 1 |  | 0
68 | 223000 | PLUMBING EQUIPMENT - WATER HEATERS | EA | 2 |  | 0
69 | 223000 | PLUMBING EQUIPMENT - CIRCULATOR PUMPS | EA | 2 |  | 0
70 | 224000 | PLUMBING FIXTURES - WATER CLOSETS AND URINALS | EA | 18 |  | 0
71 | 224000 | PLUMBING FIXTURES - SINKS AND LAVATORIES | EA | 3 |  | 0
72 | 224000 | PLUMBING FIXTURES - MOP AND SERVICE SINKS | EA | 1 |  | 0
73 | 224000 | PLUMBING FIXTURES - WATER FOUNTAINS | EA | 2 |  | 0
23 HVAC
74 | 230130.51 | DUCT CLEANING | SYS | 1 |  | 0
75 | 233100 | MECHANICAL DEMOLITION | SYS | 1 |  | 0
76 | 233100 | DUCTWORK | LBS | 650 |  | 0
77 | 231123 | FACILITY NATURAL-GAS PIPING | FT | 100 |  | 0
78 | 233700 | D/G/R | EA | 14 |  | 0
79 | 233423 | HVAC POWER VENTILATORS | EA | 3 |  | 0
80 | 232300 | REFRIGERATION PIPING | FT | 305 |  | 0
81 | 230593 | TESTING, ADJUSTING, AND BALANCING FOR HVAC | SYS | 1 |  | 0
82 | 230713 | DUCT INSULATION | SF | 1000 |  | 0
83 | 230719 | PIPE INSULATION | FT | 305 |  | 0
84 | 235100 | BREECHINGS, CHIMNEYS, STACKS | SYS | 1 |  | 0
85 | 235400 | FURNACES | EA | 9 |  | 0
86 | 237416 | PACKAGED ROOFTOP UNITS | EA | 6 |  | 0
87 | 238126.13 | SMALL CAPACITY SPLIT SYSTEM AIR CONDITIONERS | EA | 1 |  | 0
88 | 233600 | ELECTRIC DUCT COIL | EA | 7 |  | 0
89 | 233700 | GRAVITY VENTILATOR | EA | 4 |  | 0
90 | 233423 | ROOF INTAKE FANS (MAKE UP AIR UNIT) | EA | 1 |  | 0
26 ELECTRICAL
91 | 260505 | ELECTRICAL DEMOLITION | SYS | 1 |  | 0
92 | 260519 | LOW VOLTAGE ELECTRICAL POWER CONDUCTORS | SYS | 1 |  | 0
93 | 260526 | GROUNDING AND BONDING FOR ELECTRICAL SYSTEMS | SYS | 1 |  | 0
94 | 260529 | HANGERS AND SUPPORTS FOR ELECTRICAL SYSTEMS | SYS | 1 |  | 0
95 | 260533.13 | CONDUIT FOR ELECTRICAL SYSTEMS | SYS | 1 |  | 0
96 | 260533.16 | BOXES FOR ELECTRICAL SYSTEMS | SYS | 1 |  | 0
97 | 260533.23 | SURFACE RACEWAYS FOR ELECTRICAL SYSTEMS | SYS | 1 |  | 0
98 | 260553 | IDENTIFICATION FOR ELECTRICAL SYSTEMS | SYS | 1 |  | 0
99 | 260583 | WIRING CONNECTIONS | SYS | 1 |  | 0
100 | 260923 | LIGHTING CONTROL DEVICES | EA | 2 |  | 0
101 | 262416 | PANELBOARDS | EA | 1 |  | 0
102 | 262726 | WIRING DEVICES | EA | 60 |  | 0
103 | 265100 | INTERIOR LIGHTING | EA | 50 |  | 0
CITY OF TULSA ENGINEERING SERVICES STANDARD DETAILS
104 | 230(A) | SOLID SLAB SODDING | SY | 187 |  | 0
105 | 315 | SEWER SERVICE CONNECTION | EA | 1 |  | 0
106 | 610(A) | CONCRETE SIDEWALK (4") | SY | 53 |  | 0
107 | 619(B) | REMOVAL OF SIDEWALK | SY | 53 |  | 0
|  | TOTAL BASE BID |  |  |  | 80000
ADD ALTERNATE #1
02 EXISTING CONDITIONS
108 | 24100 | SELECTIVE DEMOLITION - INTERIOR REMODEL | SF | 200 |  | 0
06 WOOD, PLASTICS, & COMPOSITES
109 | 64100 | GIFT SHOP DISPLAY | SYS | 1 |  | 0
110 | 64100 | ARCHITECTURAL WOOD CASEWORK | LF | 18 |  | 0
08 OPENINGS
111 | 81213 | HOLLOW METAL DOOR FRAMES | EA | 1 |  | 0
112 | 81416 | FLUSH WOOD DOORS | EA | 1 |  | 0
113 | 84313 | ALUMINUM FRAMED STOREFRONTS | SF | 40 |  | 0
114 | 87100 | DOOR HARDWARE - SET 4.0 | EA | 1 |  | 0
115 | 87100 | DOOR HARDWARE - SET 6.0 | EA | 1 |  | 0
09 FINISHES
116 | 90561 | COMMON WORK RESULTS FOR FLOORING PREPARATION | SF | 3620 |  | 0
117 | 92116 | A1 PARTITION | SF | 150 |  | 0
118 | 92116 | C2 PARTITION | SF | 120 |  | 0
119 | 92116 | GYP CEILING | SF | 40 |  | 0
120 | 93000 | TILING - T-4 | SF | 80 |  | 0
121 | 95100 | ACOUSTICAL CEILINGS - ACP-1 | SF | 170 |  | 0
122 | 96500 | RESILIENT BASE - WB-1 | LF | 420 |  | 0
123 | 96500 | RESILIENT TILE FLOORING - FT-2 | SF | 3400 |  | 0
124 | 96813 | TILE CARPETING - CPT-2 | SF | 140 |  | 0
125 | 97200 | WALL COVERINGS - WC-2 | SF | 560 |  | 0
126 | 99123 | INTERIOR PAINTING - P-1 | SF | 6050 |  | 0
127 | 99123 | INTERIOR PAINTING - P-2 | SF | 2700 |  | 0
128 | 99123 | INTERIOR PAINTING - P-3 | EA | 12 |  | 0
10 SPECIALITIES
129 | 101419 | DIMENSIONAL SIGNAGE - 12" CHARACTERS | EA | 23 |  | 0
21 FIRE PROTECTION
130 | 211300 | FIRE PROTECTION DEMOLITION | SYS | 1 |  | 0
131 | 211300 | FIRE PROTECTION | SYS | 1 |  | 0
23 HVAC
132 | 233100 | MECHANICAL DEMOLITION | SYS | 1 |  | 0
133 | 233100 | DUCTWORK | LBS | 8 |  | 0
134 | 233700 | D/G/R | EA | 1 |  | 0
135 | 230593 | TESTING, ADJUSTING, AND BALANCING FOR HVAC | SYS | 1 |  | 0
136 | 230713 | DUCT INSULATION | SF | 4 |  | 0
26 ELECTRICAL
137 | 260505 | ELECTRICAL DEMOLITION | SYS | 1 |  | 0
138 | 265100 | INTERIOR LIGHTING | EA | 2 |  | 0
|  | TOTAL ADD ALTERNATE #1 |  |  |  | 0
ADD ALTERNATE #2
02 EXISTING CONDITIONS
139 | 24100 | SELECTIVE DEMOLITION - INTERIOR REMODEL | SF | 700 |  | 0
140 | 24100 | SELECTIVE DEMOLITION - GALLERY LIGHT FIXTURES | LF | 160 |  | 0
09 FINISHES
141 | 92116 | C2 PARTITION | SF | 950 |  | 0
142 | 92116 | GYP CEILING | SF | 40 |  | 0
143 | 95100 | ACOUSTICAL CEILINGS - ACP-1 | SF | 700 |  | 0
144 | 99123 | INTERIOR PAINTING - P-1 | SF | 950 |  | 0
145 | 99123 | INTERIOR PAINTING - P-2 | SF | 40 |  | 0
21 FIRE PROTECTION
146 | 211300 | FIRE PROTECTION DEMOLITION | SYS | 1 |  | 0
147 | 211300 | FIRE PROTECTION | SYS | 1 |  | 0
23 HVAC
148 | 233100 | MECHANICAL DEMOLITION | SYS | 1 |  | 0
149 | 233100 | DUCTWORK | LBS | 16 |  | 0
150 | 233700 | D/G/R | EA | 2 |  | 0
151 | 230593 | TESTING, ADJUSTING, AND BALANCING FOR HVAC | SYS | 1 |  | 0
152 | 230713 | DUCT INSULATION | SF | 65 |  | 0
26 ELECTRICAL
153 | 260505 | ELECTRICAL DEMOLITION | SYS | 1 |  | 0
154 | 260533.13 | CONDUIT FOR ELECTRICAL SYSTEMS | SYS | 1 |  | 0
155 | 260533.16 | BOXES FOR ELECTRICAL SYSTEMS | SYS | 1 |  | 0
156 | 260583 | WIRING CONNECTIONS | SYS | 1 |  | 0
157 | 265100 | INTERIOR LIGHTING | EA | 35 |  | 0
|  | TOTAL ADD ALTERNATE #2 |  |  |  | 0
ADD ALTERNATE #3
02 EXISTING CONDITIONS
158 | 24100 | SELECTIVE DEMOLITION | SF | 5720 |  | 0
08 OPENINGS
159 | 81213 | HOLLOW METAL DOOR FRAMES | EA | 3 |  | 0
160 | 81416 | FLUSH WOOD DOORS | EA | 6 |  | 0
161 | 84313 | ALUMINUM FRAMED STOREFRONTS | SF | 42 |  | 0
162 | 87100 | DOOR HARDWARE - SET 1.0 | EA | 1 |  | 0
163 | 87100 | DOOR HARDWARE - SET 2.0 | EA | 3 |  | 0
164 | 87100 | DOOR HARDWARE - SET 10.0 | EA | 3 |  | 0
09 FINISHES
165 | 90561 | COMMON WORK RESULTS FOR FLOORING PREPARATION | SF | 9850 |  | 0
166 | 92116 | C1 PARTITION | SF | 560 |  | 0
167 | 92116 | C3 PARTITION | SF | 320 |  | 0
168 | 92116 | D1 PARTITION | SF | 1470 |  | 0
169 | 92116 | GB-11 AT WEST WALL OF MULTIPURPOSE ROOM | SF | 950 |  | 0
170 | 92116 | GYP CEILING | SF | 800 |  | 0
171 | 95100 | ACOUSTICAL CEILINGS - ACP-1 | SF | 5480 |  | 0
172 | 96500 | RESILIENT BASE - WB-1 | LF | 560 |  | 0
173 | 96500 | RESILIENT TILE FLOORING - FT-1 | SF | 2830 |  | 0
174 | 96500 | RESILIENT TILE FLOORING - FT-2 | SF | 7020 |  | 0
175 | 97200 | WALL COVERINGS - WC-1 | SF | 640 |  | 0
176 | 97200 | WALL COVERINGS - WC-3 | SF | 1250 |  | 0
177 | 99123 | INTERIOR PAINTING - P-1 | SF | 5830 |  | 0
178 | 99123 | INTERIOR PAINTING - P-2 | SF | 11670 |  | 0
179 | 99123 | INTERIOR PAINTING - P-3 | EA | 8 |  | 0
10 SPECIALITIES
180 | 104400 | FIRE EXTINGUISHER CABINET | EA | 4 |  | 0
181 | 104400 | FIRE EXTINGUISHER | EA | 4 |  | 0
182 | 107316.13 | METAL CANOPIES | EA | 1 |  | 0
12 FURNISHINGS
183 | - | TICKET TABLES | EA | 2 |  | 0
21 FIRE PROTECTION
184 | 211300 | FIRE PROTECTION DEMOLITION | SYS | 1 |  | 0
185 | 211300 | FIRE PROTECTION | SYS | 1 |  | 0
23 HVAC
186 | 233100 | MECHANICAL DEMOLITION | SYS | 1 |  | 0
187 | 233100 | DUCTWORK | LBS | 605 |  | 0
188 | 233700 | D/G/R | EA | 64 |  | 0
189 | 230593 | TESTING, ADJUSTING, AND BALANCING FOR HVAC | SYS | 1 |  | 0
190 | 230713 | DUCT INSULATION | SF | 2400 |  | 0
26 ELECTRICAL
191 | 260505 | ELECTRICAL DEMOLITION | SYS | 1 |  | 0
192 | 260526 | GROUNDING AND BONDING FOR ELECTRICAL SYSTEMS | SYS | 1 |  | 0
193 | 260529 | HANGERS AND SUPPORTS FOR ELECTRICAL SYSTEMS | SYS | 1 |  | 0
194 | 260533.13 | CONDUIT FOR ELECTRICAL SYSTEMS | SYS | 1 |  | 0
195 | 260533.16 | BOXES FOR ELECTRICAL SYSTEMS | SYS | 1 |  | 0
196 | 260553 | IDENTIFICATION FOR ELECTRICAL SYSTEMS | SYS | 1 |  | 0
197 | 260583 | WIRING CONNECTIONS | SYS | 1 |  | 0
198 | 262416 | PANELBOARDS | EA | 1 |  | 0
199 | 262726 | WIRING DEVICES | SYS | 1 |  | 0
200 | 262813 | FUSES | SYS | 1 |  | 0
201 | 265100 | INTERIOR LIGHTING | EA | 88 |  | 0
|  | TOTAL ADD ALTERNATE #3 |  |  |  | 0
ADD ALTERNATE #4
10 SPECIALITIES
202 | 102239 | OPERABLE PARTITIONS | SF | 5300 |  | 0
|  | TOTAL ADD ALTERNATE #4 |  |  |  | 0
ADD ALTERNATE #5
02 EXISTING CONDITIONS
203 | 24100 | SELECTIVE DEMOLITION | SF | 4100 |  | 0
09 FINISHES
204 | 90561 | COMMON WORK RESULTS FOR FLOORING PREPARATION | SF | 4280 |  | 0
205 | 92116 | GYP CEILING | SF | 480 |  | 0
206 | 95100 | ACOUSTICAL CEILINGS - ACP-1 | SF | 3600 |  | 0
207 | 96500 | RESILIENT BASE - WB-1 | LF | 770 |  | 0
208 | 96500 | RESILIENT TILE FLOORING - FT-2 | SF | 260 |  | 0
209 | 96813 | TILE CARPETING - CPT-1 | SF | 4020 |  | 0
210 | 99123 | INTERIOR PAINTING - P-1 | SF | 6020 |  | 0
211 | 99123 | INTERIOR PAINTING - P-2 | SF | 500 |  | 0
212 | 99123 | INTERIOR PAINTING - P-3 | EA | 18 |  | 0
12 FURNISHINGS
213 | 122400 | ROLLER WINDOW SHADES - WT-1 | EA | 6 |  | 0
214 | 122400 | ROLLER WINDOW SHADES - WT-2 | EA | 5 |  | 0
21 FIRE PROTECTION
215 | 211300 | FIRE PROTECTION DEMOLITION | SYS | 1 |  | 0
216 | 211300 | FIRE PROTECTION | SYS | 1 |  | 0
23 HVAC
217 | 230130.51 | DUCT CLEANING | SYS | 1 |  | 0
218 | 233100 | MECHANICAL DEMOLITION | SYS | 1 |  | 0
219 | 233100 | DUCTWORK | LBS | 480 |  | 0
220 | 233700 | D/G/R | EA | 49 |  | 0
221 | 232300 | REFRIGERATION PIPING | FT | 40 |  | 0
222 | 230593 | TESTING, ADJUSTING, AND BALANCING FOR HVAC | SYS | 1 |  | 0
223 | 230713 | DUCT INSULATION | SF | 3105 |  | 0
224 | 230719 | PIPE INSULATION | FT | 40 |  | 0
225 | 235100 | BREECHINGS, CHIMNEYS, STACKS | SYS | 1 |  | 0
226 | 238126.13 | SMALL CAPACITY SPLIT SYSTEM AIR CONDITIONERS | EA | 1 |  | 0
227 | 238419 | DEHUMIDIFIER | EA | 1 |  | 0
26 ELECTRICAL
228 | 260505 | ELECTRICAL DEMOLITION | SYS | 1 |  | 0
229 | 265100 | INTERIOR LIGHTING | EA | 70 |  | 0
|  | TOTAL ADD ALTERNATE #5 |  |  |  | 0
ADD ALTERNATE #6
02 EXISTING CONDITIONS
230 | 24100 | SELECTIVE DEMOLITION | SF | 49 |  | 0
06 WOOD, PLASTICS, & COMPOSITES
231 | 64100 | ARCHITECTURAL WOOD CASEWORK | LF | 18 |  | 0
22 PLUMBING
232 | 221005 | PLUMBING DEMOLITION | SYS | 1 |  | 0
233 | 221005 | PLUMBING PIPING - DOMESTIC WATER | SYS | 1 |  | 0
234 | 224000 | PLUMBING FIXTURES - SINK, FAUCET | SYS | 1 |  | 0
0
|  | TOTAL BASE BID plus ALTERNATES 1 thru 6 |  |  |  | 80000

## AE Estimate
ARCHITECT/ENGINEER ESTIMATE
Greenwood Cultural Center Facility Rehabilitation
PROJECT NO: SP 20-6
BID ITEM | SPEC NO. | DESCRIPTION | UNIT | QTY | DATA INPUT UNIT PRICE | TOTAL EACH ITEM
BASE BID:
01 GENERAL REQUIREMENTS
1 | 10000 | GENERAL CONDITIONS | MONTH | 6 | 70000 | 420000
2 | 10000 | OWNER ALLOWANCE | ALLOW | 80000 | 1 | 80000
02 EXISTING CONDITIONS
3 | 24100 | SELECTIVE DEMOLITION - INTERIOR REMODEL | SF | 1700 | 6.75 | 11475
03 CONCRETE
4 | 33000 | CONCRETE | CY | 15 | 227.75 | 3416.25
5 | 33000 | REBAR REINFORCEMENT | LF | 1225 | 0.5 | 612.5
6 | 33511 | PENETRATING CLEAR SEALER - CONC-S1 | SF | 30 | 6.75 | 202.5
05 METALS
7 | 53100 | STEEL DECKING - REPAIR | SF | 1000 | 4 | 4000
8 | 53100 | STEEL DECKING - REPLACEMENT OR OVERLAY | SF | 1000 | 6.75 | 6750
9 | 55000 | METAL FABRICATIONS | LF | 24 | 67 | 1608
06 WOOD, PLASTICS, & COMPOSITES
10 | 61053 | ROUGH CARPENTRY - WOOD BLOCKING, CURBING, AND NAILERS | LF | 1400 | 8 | 11200
11 | 68316 | PLASTIC PANELING - FRP-1 | SF | 150 | 6.75 | 1012.5
07 THERMAL & MOISTURE PROTECTION
12 | 70150.19 | PREPARATION FOR RE-ROOFING - BUILT-UP ROOFING | SF | 16850 | 6.75 | 113737.5
13 | 70150.19 | PREPARATION FOR RE-ROOFING - BALLASTED ROOFING | SF | 1450 | 6.75 | 9787.5
14 | 75400 | THERMOPLASTIC MEMBRANE ROOFING | SF | 18300 | 30.75 | 562725
15 | 76200 | SHEET METAL FLASHING AND TRIM | LF | 900 | 26.75 | 24075
16 | 76200 | GUTTERS | LF | 35 | 60.25 | 2108.75
17 | 76200 | THROUGH WALL SCUPPERS | EA | 5 | 2010 | 10050
18 | 76200 | ROOF SPECIALITIES - COPINGS | LF | 505 | 40.25 | 20326.25
19 | 77200 | ROOF ACCESSORIES - EQUIPMENT SUPPORTS | EA | 8 | 335 | 2680
20 | 77200 | ROOF ACCESSORIES - PIPE SUPPORTS | EA | 55 | 67 | 3685
21 | 79200 | JOINT SEALANTS | SYS | 1 | 50920 | 50920
08 OPENINGS
22 | 81213 | HOLLOW METAL DOOR FRAMES | EA | 5 | 536 | 2680
23 | 81416 | FLUSH WOOD DOORS | EA | 5 | 2546 | 12730
24 | 84313 | ALUMINUM FRAMED STOREFRONTS | SF | 202 | 87 | 17574
25 | 87100 | DOOR HARDWARE - SET 3.0 | EA | 1 | 2010 | 2010
26 | 87100 | DOOR HARDWARE - SET 5.0 | EA | 1 | 2010 | 2010
27 | 87100 | DOOR HARDWARE - SET 7.0 | EA | 1 | 2010 | 2010
28 | 87100 | DOOR HARDWARE - SET 8.0 | EA | 2 | 2010 | 4020
29 | 88000 | GLAZING | SF | 180 | 53.5 | 9630
09 FINISHES
30 | 90561 | COMMON WORK RESULTS FOR FLOORING PREPARATION | SF | 910 | 2.75 | 2502.5
31 | 92116 | A1 PARTITION | SF | 240 | 13.5 | 3240
32 | 92116 | A2 PARTITION | SF | 850 | 13.5 | 11475
33 | 92116 | A3 PARTITION | SF | 330 | 13.5 | 4455
34 | 92116 | C2 PARTITION | SF | 30 | 13.5 | 405
35 | 92116 | F1 PARTITION | SF | 410 | 13.5 | 5535
36 | 92116 | GYP CEILING | SF | 880 | 8 | 7040
37 | 93000 | TILING - T-1 | SF | 880 | 17.5 | 15400
38 | 93000 | TILING - T-2 | SF | 1490 | 17.5 | 26075
39 | 95100 | ACOUSTICAL CEILINGS - ACP-1 | SF | 130 | 13.5 | 1755
40 | 96500 | RESILIENT BASE - WB-1 | LF | 40 | 4 | 160
41 | 99123 | INTERIOR PAINTING - P-1 | SF | 1720 | 2.75 | 4730
42 | 99123 | INTERIOR PAINTING - P-2 | SF | 660 | 3.25 | 2145
43 | 99123 | INTERIOR PAINTING - P-3 | EA | 5 | 67 | 335
10 SPECIALITIES
44 | 101419 | ROOM ID SIGNAGE | EA | 3 | 67 | 201
45 | 102113.19 | PLASTIC TOILET COMPARTMENTS - STANDARD STALL | EA | 10 | 1742 | 17420
46 | 102113.19 | PLASTIC TOILET COMPARTMENTS - WHEELCHAIR ACCESS. STALL | EA | 2 | 1742 | 3484
47 | 102113.19 | PLASTIC TOILET COMPARTMENTS - AMBULATORY ACCESS. STALL | EA | 2 | 1742 | 3484
48 | 102113.19 | PLASTIC TOILET COMPARTMENTS - URINAL SCREEN | EA | 3 | 603 | 1809
49 | 102800 | TOILET ACCESSORIES - TA-1B | EA | 3 | 100.5 | 301.5
50 | 102800 | TOILET ACCESSORIES - TA-1D | EA | 3 | 100.5 | 301.5
51 | 102800 | TOILET ACCESSORIES - TA-1E | EA | 7 | 100.5 | 703.5
52 | 102800 | TOILET ACCESSORIES - TA-2 | EA | 15 | 201 | 3015
53 | 102800 | TOILET ACCESSORIES - TA-3D | EA | 3 | 804 | 2412
54 | 102800 | TOILET ACCESSORIES - TA-5B | EA | 12 | 268 | 3216
55 | 102800 | TOILET ACCESSORIES - TA-11 | EA | 9 | 294.75 | 2652.75
56 | 102800 | TOILET ACCESSORIES - TA-13A | EA | 14 | 67 | 938
57 | 102800 | TOILET ACCESSORIES - TA-14 | EA | 1 | 603 | 603
58 | 102800 | TOILET ACCESSORIES - TA-22D | EA | 1 | 2613 | 2613
59 | 104400 | FIRE EXTINGUISHER CABINET | EA | 2 | 536 | 1072
60 | 104400 | FIRE EXTINGUISHER | EA | 2 | 201 | 402
21 FIRE SUPPRESSION
61 | 211300 | FIRE PROTECTION DEMOLITION | SYS | 1 | 6700 | 6700
62 | 211300 | FIRE PROTECTION | SYS | 1 | 20100 | 20100
22 PLUMBING
63 | 220719 | PLUMBING PIPING INSULATION | SYS | 1 | 8040 | 8040
64 | 221005 | PLUMBING DEMOLITION | SYS | 1 | 4690 | 4690
65 | 221005 | PLUMBING PIPING - DOMESTIC WATER | SYS | 1 | 13400 | 13400
66 | 221005 | PLUMBING PIPING - WASTE AND VENT | SYS | 1 | 13400 | 13400
67 | 221005 | PLUMBING PIPING - NATURAL GAS | SYS | 1 | 13400 | 13400
68 | 223000 | PLUMBING EQUIPMENT - WATER HEATERS | EA | 2 | 8040 | 16080
69 | 223000 | PLUMBING EQUIPMENT - CIRCULATOR PUMPS | EA | 2 | 1340 | 2680
70 | 224000 | PLUMBING FIXTURES - WATER CLOSETS AND URINALS | EA | 18 | 1340 | 24120
71 | 224000 | PLUMBING FIXTURES - SINKS AND LAVATORIES | EA | 3 | 13360 | 40080
72 | 224000 | PLUMBING FIXTURES - MOP AND SERVICE SINKS | EA | 1 | 1608 | 1608
73 | 224000 | PLUMBING FIXTURES - WATER FOUNTAINS | EA | 2 | 2680 | 5360
23 HVAC
74 | 230130.51 | DUCT CLEANING | SYS | 1 | 30820 | 30820
75 | 233100 | MECHANICAL DEMOLITION | SYS | 1 | 11390 | 11390
76 | 233100 | DUCTWORK | LBS | 650 | 67 | 43550
77 | 231123 | FACILITY NATURAL-GAS PIPING | FT | 100 | 33.5 | 3350
78 | 233700 | D/G/R | EA | 14 | 402 | 5628
79 | 233423 | HVAC POWER VENTILATORS | EA | 3 | 1340 | 4020
80 | 232300 | REFRIGERATION PIPING | FT | 305 | 40.25 | 12276.25
81 | 230593 | TESTING, ADJUSTING, AND BALANCING FOR HVAC | SYS | 1 | 2278 | 2278
82 | 230713 | DUCT INSULATION | SF | 1000 | 26.75 | 26750
83 | 230719 | PIPE INSULATION | FT | 305 | 67 | 20435
84 | 235100 | BREECHINGS, CHIMNEYS, STACKS | SYS | 1 | 13400 | 13400
85 | 235400 | FURNACES | EA | 9 | 11524 | 103716
86 | 237416 | PACKAGED ROOFTOP UNITS | EA | 6 | 26800 | 160800
87 | 238126.13 | SMALL CAPACITY SPLIT SYSTEM AIR CONDITIONERS | EA | 1 | 3350 | 3350
88 | 233600 | ELECTRIC DUCT COIL | EA | 7 | 1005 | 7035
89 | 233700 | GRAVITY VENTILATOR | EA | 4 | 3350 | 13400
90 | 233423 | ROOF INTAKE FANS (MAKE UP AIR UNIT) | EA | 1 | 10720 | 10720
26 ELECTRICAL
91 | 260505 | ELECTRICAL DEMOLITION | SYS | 1 | 4556 | 4556
92 | 260519 | LOW VOLTAGE ELECTRICAL POWER CONDUCTORS | SYS | 1 | 4020 | 4020
93 | 260526 | GROUNDING AND BONDING FOR ELECTRICAL SYSTEMS | SYS | 1 | 1340 | 1340
94 | 260529 | HANGERS AND SUPPORTS FOR ELECTRICAL SYSTEMS | SYS | 1 | 3082 | 3082
95 | 260533.13 | CONDUIT FOR ELECTRICAL SYSTEMS | SYS | 1 | 8040 | 8040
96 | 260533.16 | BOXES FOR ELECTRICAL SYSTEMS | SYS | 1 | 1340 | 1340
97 | 260533.23 | SURFACE RACEWAYS FOR ELECTRICAL SYSTEMS | SYS | 1 | 2010 | 2010
98 | 260553 | IDENTIFICATION FOR ELECTRICAL SYSTEMS | SYS | 1 | 1340 | 1340
99 | 260583 | WIRING CONNECTIONS | SYS | 1 | 670 | 670
100 | 260923 | LIGHTING CONTROL DEVICES | EA | 2 | 201 | 402
101 | 262416 | PANELBOARDS | EA | 1 | 6700 | 6700
102 | 262726 | WIRING DEVICES | EA | 60 | 67 | 4020
103 | 265100 | INTERIOR LIGHTING | EA | 50 | 268 | 13400
CITY OF TULSA ENGINEERING SERVICES STANDARD DETAILS
104 | 230(A) | SOLID SLAB SODDING | SY | 187 | 33.5 | 6264.5
105 | 315 | SEWER SERVICE CONNECTION | EA | 1 | 214400 | 214400
106 | 610(A) | CONCRETE SIDEWALK (4") | SY | 53 | 134 | 7102
107 | 619(B) | REMOVAL OF SIDEWALK | SY | 53 | 67 | 3551
|  | TOTAL BASE BID |  |  |  | 2447730.25
ADD ALTERNATE #1
02 EXISTING CONDITIONS
108 | 24100 | SELECTIVE DEMOLITION - INTERIOR REMODEL | SF | 200 | 4 | 800
06 WOOD, PLASTICS, & COMPOSITES
109 | 64100 | GIFT SHOP DISPLAY | SYS | 1 | 26800 | 26800
110 | 64100 | ARCHITECTURAL WOOD CASEWORK | LF | 18 | 1340 | 24120
08 OPENINGS
111 | 81213 | HOLLOW METAL DOOR FRAMES | EA | 1 | 536 | 536
112 | 81416 | FLUSH WOOD DOORS | EA | 1 | 2546 | 2546
113 | 84313 | ALUMINUM FRAMED STOREFRONTS | SF | 40 | 87 | 3480
114 | 87100 | DOOR HARDWARE - SET 4.0 | EA | 1 | 2010 | 2010
115 | 87100 | DOOR HARDWARE - SET 6.0 | EA | 1 | 2010 | 2010
09 FINISHES
116 | 90561 | COMMON WORK RESULTS FOR FLOORING PREPARATION | SF | 3620 | 2.75 | 9955
117 | 92116 | A1 PARTITION | SF | 150 | 13.5 | 2025
118 | 92116 | C2 PARTITION | SF | 120 | 13.5 | 1620
119 | 92116 | GYP CEILING | SF | 40 | 8 | 320
120 | 93000 | TILING - T-4 | SF | 80 | 17.5 | 1400
121 | 95100 | ACOUSTICAL CEILINGS - ACP-1 | SF | 170 | 13.5 | 2295
122 | 96500 | RESILIENT BASE - WB-1 | LF | 420 | 4 | 1680
123 | 96500 | RESILIENT TILE FLOORING - FT-2 | SF | 3400 | 10.75 | 36550
124 | 96813 | TILE CARPETING - CPT-2 | SF | 140 | 9.5 | 1330
125 | 97200 | WALL COVERINGS - WC-2 | SF | 560 | 8 | 4480
126 | 99123 | INTERIOR PAINTING - P-1 | SF | 6050 | 2.75 | 16637.5
127 | 99123 | INTERIOR PAINTING - P-2 | SF | 2700 | 3.25 | 8775
128 | 99123 | INTERIOR PAINTING - P-3 | EA | 12 | 67 | 804
10 SPECIALITIES
129 | 101419 | DIMENSIONAL SIGNAGE - 12" CHARACTERS | EA | 23 | 234.5 | 5393.5
21 FIRE PROTECTION
130 | 211300 | FIRE PROTECTION DEMOLITION | SYS | 1 | 402 | 402
131 | 211300 | FIRE PROTECTION | SYS | 1 | 804 | 804
23 HVAC
132 | 233100 | MECHANICAL DEMOLITION | SYS | 1 | 1340 | 1340
133 | 233100 | DUCTWORK | LBS | 8 | 67 | 536
134 | 233700 | D/G/R | EA | 1 | 402 | 402
135 | 230593 | TESTING, ADJUSTING, AND BALANCING FOR HVAC | SYS | 1 | 2278 | 2278
136 | 230713 | DUCT INSULATION | SF | 4 | 26.75 | 107
26 ELECTRICAL
137 | 260505 | ELECTRICAL DEMOLITION | SYS | 1 | 536 | 536
138 | 265100 | INTERIOR LIGHTING | EA | 2 | 268 | 536
|  | TOTAL ADD ALTERNATE #1 |  |  |  | 162508
ADD ALTERNATE #2
02 EXISTING CONDITIONS
139 | 24100 | SELECTIVE DEMOLITION - INTERIOR REMODEL | SF | 700 | 4 | 2800
140 | 24100 | SELECTIVE DEMOLITION - GALLERY LIGHT FIXTURES | LF | 160 | 26.75 | 4280
09 FINISHES
141 | 92116 | C2 PARTITION | SF | 950 | 13.5 | 12825
142 | 92116 | GYP CEILING | SF | 40 | 8 | 320
143 | 95100 | ACOUSTICAL CEILINGS - ACP-1 | SF | 700 | 13.5 | 9450
144 | 99123 | INTERIOR PAINTING - P-1 | SF | 950 | 2.75 | 2612.5
145 | 99123 | INTERIOR PAINTING - P-2 | SF | 40 | 3.25 | 130
21 FIRE PROTECTION
146 | 211300 | FIRE PROTECTION DEMOLITION | SYS | 1 | 1474 | 1474
147 | 211300 | FIRE PROTECTION | SYS | 1 | 2948 | 2948
23 HVAC
148 | 233100 | MECHANICAL DEMOLITION | SYS | 1 | 1340 | 1340
149 | 233100 | DUCTWORK | LBS | 16 | 67 | 1072
150 | 233700 | D/G/R | EA | 2 | 402 | 804
151 | 230593 | TESTING, ADJUSTING, AND BALANCING FOR HVAC | SYS | 1 | 268 | 268
152 | 230713 | DUCT INSULATION | SF | 64 | 26.75 | 1712
26 ELECTRICAL
153 | 260505 | ELECTRICAL DEMOLITION | SYS | 1 | 1876 | 1876
154 | 260533.13 | CONDUIT FOR ELECTRICAL SYSTEMS | SYS | 1 | 4690 | 4690
155 | 260533.16 | BOXES FOR ELECTRICAL SYSTEMS | SYS | 1 | 2010 | 2010
156 | 260583 | WIRING CONNECTIONS | SYS | 1 | 670 | 670
157 | 265100 | INTERIOR LIGHTING | EA | 35 | 670 | 23450
|  | TOTAL ADD ALTERNATE #2 |  |  |  | 74731.5
ADD ALTERNATE #3
02 EXISTING CONDITIONS
158 | 24100 | SELECTIVE DEMOLITION | SF | 5720 | 4 | 22880
08 OPENINGS
159 | 81213 | HOLLOW METAL DOOR FRAMES | EA | 3 | 536 | 1608
160 | 81416 | FLUSH WOOD DOORS | EA | 6 | 2546 | 15276
161 | 84313 | ALUMINUM FRAMED STOREFRONTS | SF | 42 | 87 | 3654
162 | 87100 | DOOR HARDWARE - SET 1.0 | EA | 1 | 2010 | 2010
163 | 87100 | DOOR HARDWARE - SET 2.0 | EA | 3 | 2010 | 6030
164 | 87100 | DOOR HARDWARE - SET 10.0 | EA | 3 | 2010 | 6030
09 FINISHES
165 | 90561 | COMMON WORK RESULTS FOR FLOORING PREPARATION | SF | 9850 | 2.75 | 27087.5
166 | 92116 | C1 PARTITION | SF | 560 | 13.5 | 7560
167 | 92116 | C3 PARTITION | SF | 320 | 13.5 | 4320
168 | 92116 | D1 PARTITION | SF | 1470 | 13.5 | 19845
169 | 92116 | GB-11 AT WEST WALL OF MULTIPURPOSE ROOM | SF | 950 | 6.75 | 6412.5
170 | 92116 | GYP CEILING | SF | 800 | 8 | 6400
171 | 95100 | ACOUSTICAL CEILINGS - ACP-1 | SF | 5480 | 13.5 | 73980
172 | 96500 | RESILIENT BASE - WB-1 | LF | 560 | 4 | 2240
173 | 96500 | RESILIENT TILE FLOORING - FT-1 | SF | 2830 | 10.75 | 30422.5
174 | 96500 | RESILIENT TILE FLOORING - FT-2 | SF | 7020 | 10.75 | 75465
175 | 97200 | WALL COVERINGS - WC-1 | SF | 640 | 8 | 5120
176 | 97200 | WALL COVERINGS - WC-3 | SF | 1250 | 8 | 10000
177 | 99123 | INTERIOR PAINTING - P-1 | SF | 5830 | 2.75 | 16032.5
178 | 99123 | INTERIOR PAINTING - P-2 | SF | 11670 | 3.25 | 37927.5
179 | 99123 | INTERIOR PAINTING - P-3 | EA | 8 | 67 | 536
10 SPECIALITIES
180 | 104400 | FIRE EXTINGUISHER CABINET | EA | 4 | 536 | 2144
181 | 104400 | FIRE EXTINGUISHER | EA | 4 | 201 | 804
182 | 107316.13 | METAL CANOPIES | EA | 1 | 9380 | 9380
12 FURNISHINGS
183 | - | TICKET TABLES - FURNITURE | EA | 2 | 3685 | 7370
21 FIRE PROTECTION
184 | 211300 | FIRE PROTECTION DEMOLITION | SYS | 1 | 11524 | 11524
185 | 211300 | FIRE PROTECTION | SYS | 1 | 23048 | 23048
23 HVAC
186 | 233100 | MECHANICAL DEMOLITION | SYS | 1 | 15410 | 15410
187 | 233100 | DUCTWORK | LBS | 605 | 67 | 40535
188 | 233700 | D/G/R | EA | 64 | 402 | 25728
189 | 230593 | TESTING, ADJUSTING, AND BALANCING FOR HVAC | SYS | 1 | 7664.75 | 7664.75
190 | 230713 | DUCT INSULATION | SF | 2400 | 26.75 | 64200
26 ELECTRICAL
191 | 260505 | ELECTRICAL DEMOLITION | SYS | 1 | 15410 | 15410
192 | 260526 | GROUNDING AND BONDING FOR ELECTRICAL SYSTEMS | SYS | 1 | 2680 | 2680
193 | 260529 | HANGERS AND SUPPORTS FOR ELECTRICAL SYSTEMS | SYS | 1 | 5360 | 5360
194 | 260533.13 | CONDUIT FOR ELECTRICAL SYSTEMS | SYS | 1 | 8040 | 8040
195 | 260533.16 | BOXES FOR ELECTRICAL SYSTEMS | SYS | 1 | 4020 | 4020
196 | 260553 | IDENTIFICATION FOR ELECTRICAL SYSTEMS | SYS | 1 | 1340 | 1340
197 | 260583 | WIRING CONNECTIONS | SYS | 1 | 2680 | 2680
198 | 262416 | PANELBOARDS | EA | 1 | 6700 | 6700
199 | 262726 | WIRING DEVICES | SYS | 1 | 4690 | 4690
200 | 262813 | FUSES | SYS | 1 | 2680 | 2680
201 | 265100 | INTERIOR LIGHTING | EA | 88 | 268 | 23584
|  | TOTAL ADD ALTERNATE #3 |  |  |  | 665828.25
ADD ALTERNATE #4
10 SPECIALITIES
202 | 102239 | OPERABLE PARTITIONS | SF | 5300 | 105 | 556500
|  | TOTAL ADD ALTERNATE #4 |  |  |  | 556500
ADD ALTERNATE #5
02 EXISTING CONDITIONS
203 | 24100 | SELECTIVE DEMOLITION | SF | 4100 | 4 | 16400
09 FINISHES
204 | 90561 | COMMON WORK RESULTS FOR FLOORING PREPARATION | SF | 4280 | 2.75 | 11770
205 | 92116 | GYP CEILING | SF | 480 | 8 | 3840
206 | 95100 | ACOUSTICAL CEILINGS - ACP-1 | SF | 3600 | 13.5 | 48600
207 | 96500 | RESILIENT BASE - WB-1 | LF | 770 | 4 | 3080
208 | 96500 | RESILIENT TILE FLOORING - FT-2 | SF | 260 | 10.75 | 2795
209 | 96813 | TILE CARPETING - CPT-1 | SF | 4020 | 9.5 | 38190
210 | 99123 | INTERIOR PAINTING - P-1 | SF | 6020 | 2.75 | 16555
211 | 99123 | INTERIOR PAINTING - P-2 | SF | 500 | 3.25 | 1625
212 | 99123 | INTERIOR PAINTING - P-3 | EA | 18 | 67 | 1206
12 FURNISHINGS
213 | 122400 | ROLLER WINDOW SHADES - WT-1 | EA | 6 | 335 | 2010
214 | 122400 | ROLLER WINDOW SHADES - WT-2 | EA | 5 | 268 | 1340
21 FIRE PROTECTION
215 | 211300 | FIRE PROTECTION DEMOLITION | SYS | 1 | 8308 | 8308
216 | 211300 | FIRE PROTECTION | SYS | 1 | 24790 | 24790
23 HVAC
217 | 230130.51 | DUCT CLEANING | SYS | 1 | 5494 | 5494
218 | 233100 | MECHANICAL DEMOLITION | SYS | 1 | 10988 | 10988
219 | 233100 | DUCTWORK | LBS | 480 | 67 | 32160
220 | 233700 | D/G/R | EA | 49 | 402 | 19698
221 | 232300 | REFRIGERATION PIPING | FT | 40 | 40.25 | 1610
222 | 230593 | TESTING, ADJUSTING, AND BALANCING FOR HVAC | SYS | 1 | 5494 | 5494
223 | 230713 | DUCT INSULATION | SF | 3105 | 26.75 | 83058.75
224 | 230719 | PIPE INSULATION | FT | 40 | 67 | 2680
225 | 235100 | BREECHINGS, CHIMNEYS, STACKS | SYS | 1 | 6700 | 6700
226 | 238126.13 | SMALL CAPACITY SPLIT SYSTEM AIR CONDITIONERS | EA | 1 | 3350 | 3350
227 | 238419 | DEHUMIDIFIER | EA | 1 | 6700 | 6700
26 ELECTRICAL
228 | 260505 | ELECTRICAL DEMOLITION | SYS | 1 | 10988 | 10988
229 | 265100 | INTERIOR LIGHTING | EA | 70 | 268 | 18760
|  | TOTAL ADD ALTERNATE #5 |  |  |  | 388189.75
ADD ALTERNATE #6
02 EXISTING CONDITIONS
230 | 24100 | SELECTIVE DEMOLITION | SF | 49 | 4 | 196
06 WOOD, PLASTICS, & COMPOSITES
231 | 64100 | ARCHITECTURAL WOOD CASEWORK | LF | 18 | 1150 | 20700
22 PLUMBING
232 | 221005 | PLUMBING DEMOLITION | SYS | 1 | 400 | 300
233 | 221005 | PLUMBING PIPING - DOMESTIC WATER | SYS | 1 | 582 | 600
234 | 224000 | PLUMBING FIXTURES - SINK, FAUCET | SYS | 1 | 2800 | 2826
24622
|  | TOTAL BASE BID plus ALTERNATES 1 thru 6 |  |  |  | 4320109.75
ESTIMATE PREPARED BY:
JCJ Architecture PC
8801 South Yale Avenue, Suite 100
Tulsa, OK 74137
|  |  | Seal & Signature |  |  | Date: